## Sheet1
Sr. No. | Description of item | HSN Code | GST%((Inclusive)
1 | Siemens make Power Supply for redundant use, PS407 10A, Manufacter Code: 6ES7407-0KR02-0AA0
2 | Siemens make SIMATIC S7- 400H CPU, CPU 416-5H, Manufacter Code: 6ES7416- 5HS06-0AB0
3 | Siemens make Communication processor, CP443-1, Manufacter Code: 6GK7443-1EX30-0XE0
4 | Siemens make SIMATIC S7, RAM Memory Card for S7- 400 16 Mbyte, Memory Card, Manufacter Code: 6ES7952-1AS00-0AA0
5 | Siemens make SIMATIC S7- 400 Backup battery 3.6 V/2.3 AH for PS 407, Backup battery, Manufacter Code: 6ES7971-0BA00
6 | Siemens make SIMATIC S7- 400H, Synchronization module V6 for patch cable, Synchronization module, Manufacter Code: 6ES7960- 1AA06-0XA0
7 | Siemens make SIMATIC S7- 400H, Patch cable FOC 1 m for synchronization module, Synchronization cable, Manufacter Code: 6ES7960- 1AA04-5AA0
8 | Siemens make Interface Module, IM 153-2 DP HF, Manufacter Code: 6ES7153- 2BA10-0XB0
9 | Siemens make Ethernet switch, SCALANCE XC208, Manufacter Code: 6GK5208- 0BA00-2AC2
10 | Siemens make Firewall, SCALANCE SC632-2C, Manufacter Code: 6GK5632- 2GS00-2AC2
11 | Siemens make Power Supply 24DC, SITOP PSU100S, Manufacter Code: 6EP1336- 2BA10
12 | Siemens make Analog Input Module, SM 331 8AI HART, Manufacter Code: 6ES7331- 7TF01-0AB0
13 | Siemens make Analog Output Module, SM 332 8AO HART, Manufacter Code: 6ES7332-8TF01-0AB0
14 | Siemens make Digital Input Module, SM 321 16DI, Manufacter Code: 6ES7321- 7BH01-0AB0
15 | Siemens make Digital Output Module, SM 332 16DO, Manufacter Code: 6ES7322- 5GH00-0AB0
16 | Siemens make 20 pole front connector, S7-300 20 pole, Manufacter Code: 6ES7392- 1AJ00-0AA0
17 | Siemens make 40 pole front connector, S7-300 40 pole, Manufacter Code: 6ES7392- 1AM00-0AA0
18 | Siemens make SIMATIC DP, BUS UNIT FOR ET200M, Bus Unit, Manufacter Code: 6ES7 195-7HD00-0XA0
19 | Siemens make ET200M, mounting rail, 530 mm, Mounting rail, Manufacter Code: 6ES7195-1GF30-0XA0
20 | Siemens make Communication processor, CP 1623, Manufacter Code: 6GK1162-3AA00
21 | Siemens make SIMATIC DP, Bus module for ET 200M for holding 2 IM153-2, Bus Unit, Manufacter Code: 6ES7195- 7HD10-0XA0
22 | Siemens make SIMATIC DP, Bus module for ET 200M, Bus Unit, Manufacter Code: 6ES7195-7HB00-0XA0
23 | Siemens make SIMATIC DP Connection plug for PROFIBUS, PROFIBUS bus connector, Manufacter Code: 6ES7972-0BB52-0XA0
24 | Siemens make SIMATIC S7, RAM Memory Card for S7- 400 64 Mbyte, Memory Card, Manufacter Code: 6ES7952-1AY00-0AA0
25 | Siemens make SIEMENS, UR2-H (Split2 x 9 Slot) Rack, rack For S7-400 R/H System, Manufacter Code: 6ES7 400- 2JA00-0AA0
26 | Siemens make SIEMENS, PS407, 120/230Vuc-5V/10A, Manufacter Code: 6ES7 407- 0KA02-0AA0
27 | Siemens make SIEMENS, Memory Card FEPROM, 8MB, Manufacter Code: 6ES7 952-1KP00-0AA0
28 | Siemens make SIEMENS, Profibus connector, without PG socket, angle Cable outlet, Manufacter Code: 6ES7 972-0BA12-0XA0
29 | Siemens make SIEMENS, ET200M, IM 153-2 Redundancy Bundle consist of IM 153-2 : 6ES7153- 2BA10-0XB0 : 2 Nos IM/IM Bus Module :6ES7 195- 7HD10-0XA0 : 1 No., Manufacter Code: 6ES7 153- 2AR04-0XA0
30 | Siemens make SIEMENS, Simatic Modbus/TCP PN redundancy for S7- 400 PN System, Manufacter Code: 6AV6 676-6MB10-0AX0
31 | Siemens make SIEMENS, ET200M, RAIL 620MM, Manufacter Code: 6ES7 195- 1GG30-0XA0
32 | Siemens make SIEMENS, ET200M, Bus Unit F. 2 :- 40MM I/O Modules, Manufacter Code: 6ES7 195- 7HB00-0XA0
33 | Siemens make SIEMENS, SM322, 16Ch. Digital Output, Dignostics, 24Vdc, 0.5A, Manufacter Code: 6ES7 322- 8BH10-0AB0
34 | Siemens make SIEMENS, SIMATIC DP, HART analog input SM 331, 8 AI, 0/4 - 20 mA, Manufacter Code: 6ES7331-7TF01-0AB0
35 | Siemens make SIEMENS, SM332, 8Ch. Analog Output, V/I, Manufacter Code: 6ES7 332-5HF00-0AB0
36 | Siemens make SIEMENS, Scalance XB208, managed, 8 x 10/100 Mbps - RJ45 Ports, Manufacter Code: 6GK5 208- 0BA00-2TB2
37 | Siemens make SIEMENS, Scalance XB004-1LD, 4 x 10/100 Mbps - RJ45 Ports, 1 x 100Mbps SC FO Port, Manufacter Code: 6GK5 004- 1BF00-1AB2
38 | Siemens make SIEMENS, SCALANCE XR324-12M; managed IE switch, 19" rack; 12x 100/1000 Mbit/s 2-port media modules, Manufacter Code: 6GK5 324-0GG10- 3AR2
39 | Siemens make SIEMENS, SCALANCE S615 LAN router, Manufacter Code: 6GK5 615- 0AA00-2AA2
40 | Siemens make SIEMENS, SCALANCE X accessory; SFP991-1LD; 1x 100 Mbit/s LC port, optical; single-mode optical up to max. 26 km, Manufacter Code: 6GK5 991- 1AF00-8AA0
41 | Siemens make SIEMENS, XR- 300 media module SCALANCE X accessory; Media module MM992- 2SFP; 2x 100/1000 Mbit/s for SFP Plug-in transceiver, Manufacter Code: 6GK5 992- 2AS00-8AA0
42 | Siemens make SIEMENS, SCALANCE X accessory; Media module MM992- 2CUC; 2x 10/100/1000 Mbit/s RJ45 ports, electrical; with securing collar, Manufacter Code: 6GK5 992- 2GA00-8AA0
43 | Siemens make SIEMENS, SCALANCE XB216 managed layer 2 IE switch, 16X 10/100 Mbps RJ45 ports, 1x console port, diagnostics LEDs redundant power supply, Manufacter Code: 6GK5 216- 0BA00-2AB2
44 | Siemens make SIEMENS, CPU 1512SP-1PN, Manufacter Code: 6ES7 512- 1DK01-0AB0
45 | Siemens make SIEMENS, Simatic S7 Memory Card, 4MB, Manufacter Code: 6ES7 954-8LC03-0AA0
46 | Siemens make SIEMENS, Bus Adapter 2XRJ45, Manufacter Code: 6ES7 193-6AR00-0AA0
47 | Siemens make SIEMENS, Standard Mounting Rail, 35mm, Manufacter Code: 6ES5 710-8MA21
48 | Siemens make SIEMENS, ET200SP, 16Ch. Digital Input Module, Manufacter Code: 6ES7 131-6BH01-0BA0
49 | Siemens make SIEMENS, ET200SP, 16Ch. Digital Output Module, Manufacter Code: 6ES7 132-6BH01-0BA0
50 | Siemens make SIEMENS, ET200SP, 8Ch. 2/4 W AI Module, Manufacter Code: 6ES7 134-6GF00-0AA1
51 | Siemens make SIEMENS, ET 200SP, 4Ch. AI Module, 2W, 4-20mA HART, Manufacter Code: 6ES7 134-6TD00-0CA1
52 | Siemens make SIEMENS, SIMATIC ET 200SP, Base unit BU15-P16+A0+2B, BU-TYPE A0, Manufacter Code: 6ES7 193-6BP00-0BA0
53 | Siemens make SIEMENS, SIMATIC ET 200SP, Base unit BU15-P16+A0+2D, BU-TYPE A0, Manufacter Code: 6ES7 193-6BP00-0DA0
54 | Siemens make SIEMENS, TP900 COMFORT, 9" TFT Touch Display, Manufacter Code: 6AV2 124-0JC01-0AX0
55 | Siemens make SIEMENS, SIMATIC ET 200SP, Server module for ET 200SP, Manufacter Code: 6ES7 193- 6PA00-0AA0
56 | Siemens make SIEMENS, SITOP PSU100D 24 V/12.5 A, Manufacter Code: 6EP1 334- 1LD00
57 | Onboard training program on Siemens PLCs, SCADA and HMI, Specifications as per Annexure A
Note: “Bidders may note GeM GTC clause no : 3 A (xvii) and Do not attach any document indicating the price in the technical bid. Only the HSN code and GST percentage of the item(s) are to be indicated in the excel upload.“