## Sheet1
Item Number | Item Title | Item Description | Item Quantity | Unit of Measure | Consignee ID | Delivery Period (In number of days)
1 | Siemens make Power Supply for redundant use PS407 10A Manufacter Code 6ES74070KR020AA0 | Siemens make Power Supply for redundant use PS407 10A Manufacter Code 6ES74070KR020AA0 | 2 | Nos | con1931.npcil.tn | 180
2 | Siemens make SIMATIC S7 400H CPU CPU 4165H Manufacter Code 6ES7416 5HS060AB0 | Siemens make SIMATIC S7 400H CPU CPU 4165H Manufacter Code 6ES7416 5HS060AB0 | 3 | Nos | con1931.npcil.tn | 180
3 | Siemens make Communication processor CP4431 Manufacter Code 6GK74431EX300XE0 | Siemens make Communication processor CP4431 Manufacter Code 6GK74431EX300XE0 | 2 | Nos | con1931.npcil.tn | 180
4 | Siemens make SIMATIC S7 RAM Memory Card for S7 400 16 Mbyte Memory Card Manufacter Code 6ES79521AS000AA0 | Siemens make SIMATIC S7 RAM Memory Card for S7 400 16 Mbyte Memory Card Manufacter Code 6ES79521AS000AA0 | 2 | Nos | con1931.npcil.tn | 180
5 | Siemens make SIMATIC S7 400 Backup battery 3.6 V2.3 AH for PS 407 Backup battery Manufacter Code 6ES79710BA00 | Siemens make SIMATIC S7 400 Backup battery 3.6 V2.3 AH for PS 407 Backup battery Manufacter Code 6ES79710BA00 | 20 | Nos | con1931.npcil.tn | 180
6 | Siemens make SIMATIC S7 400H Synchronization module V6 for patch cable Synchronization module Manufacter Code 6ES7960 1AA060XA0 | Siemens make SIMATIC S7 400H Synchronization module V6 for patch cable Synchronization module Manufacter Code 6ES7960 1AA060XA0 | 2 | Nos | con1931.npcil.tn | 180
7 | Siemens make SIMATIC S7 400H Patch cable FOC 1 m for synchronization module Synchronization cable Manufacter Code 6ES7960 1AA045AA0 | Siemens make SIMATIC S7 400H Patch cable FOC 1 m for synchronization module Synchronization cable Manufacter Code 6ES7960 1AA045AA0 | 3 | Nos | con1931.npcil.tn | 180
8 | Siemens make Interface Module IM 1532 DP HFManufacter Code 6ES7153 2BA100XB0 | Siemens make Interface Module IM 1532 DP HFManufacter Code 6ES7153 2BA100XB0 | 6 | Nos | con1931.npcil.tn | 180
9 | Siemens make Ethernet switch SCALANCE XC208 Manufacter Code 6GK5208 0BA002AC2 | Siemens make Ethernet switch SCALANCE XC208 Manufacter Code 6GK5208 0BA002AC2 | 2 | Nos | con1931.npcil.tn | 180
10 | Siemens make Firewall SCALANCE SC6322C Manufacter Code 6GK5632 2GS002AC2 | Siemens make Firewall SCALANCE SC6322C Manufacter Code 6GK5632 2GS002AC2 | 2 | Nos | con1931.npcil.tn | 180
11 | Siemens make Power Supply 24DC SITOP PSU100SManufacter Code 6EP1336 2BA10 | Siemens make Power Supply 24DC SITOP PSU100SManufacter Code 6EP1336 2BA10 | 5 | Nos | con1931.npcil.tn | 180
12 | Siemens make Analog Input Module SM 331 8AI HART Manufacter Code 6ES73317TF010AB0 | Siemens make Analog Input Module SM 331 8AI HART Manufacter Code 6ES73317TF010AB0 | 8 | Nos | con1931.npcil.tn | 180
13 | Siemens make Analog Output Module SM 332 8AO HART Manufacter Code 6ES73328TF010AB0 | Siemens make Analog Output Module SM 332 8AO HART Manufacter Code 6ES73328TF010AB0 | 3 | Nos | con1931.npcil.tn | 180
14 | Siemens make Digital Input Module SM 321 16DIManufacter Code 6ES7321 7BH010AB0 | Siemens make Digital Input Module SM 321 16DIManufacter Code 6ES7321 7BH010AB0 | 12 | Nos | con1931.npcil.tn | 180
15 | Siemens make Digital Output Module SM 332 16DOManufacter Code 6ES7322 5GH000AB0 | Siemens make Digital Output Module SM 332 16DOManufacter Code 6ES7322 5GH000AB0 | 6 | Nos | con1931.npcil.tn | 180
16 | Siemens make 20 pole front connector S7300 20 pole Manufacter Code 6ES7392 1AJ000AA0 | Siemens make 20 pole front connector S7300 20 pole Manufacter Code 6ES7392 1AJ000AA0 | 8 | Nos | con1931.npcil.tn | 180
17 | Siemens make 40 pole front connector S7300 40 pole Manufacter Code 6ES7392 1AM000AA0 | Siemens make 40 pole front connector S7300 40 pole Manufacter Code 6ES7392 1AM000AA0 | 6 | Nos | con1931.npcil.tn | 180
18 | Siemens make SIMATIC DP BUS UNIT FOR ET200M BusUnit Manufacter Code 6ES71957HD000XA0 | Siemens make SIMATIC DP BUS UNIT FOR ET200M BusUnit Manufacter Code 6ES71957HD000XA0 | 4 | Nos | con1931.npcil.tn | 180
19 | Siemens make ET200M mounting rail 530 mm Mounting rail Manufacter Code 6ES71951GF300XA0 | Siemens make ET200M mounting rail 530 mm Mounting rail Manufacter Code 6ES71951GF300XA0 | 6 | Nos | con1931.npcil.tn | 180
20 | Siemens make Communication processor CP 1623 Manufacter Code 6GK11623AA00 | Siemens make Communication processor CP 1623 Manufacter Code 6GK11623AA00 | 2 | Nos | con1931.npcil.tn | 180
21 | Siemens make SIMATIC DP Bus module for ET 200M for holding 2 IM1532 Bus Unit Manufacter Code 6ES7195 7HD100XA0 | Siemens make SIMATIC DP Bus module for ET 200M for holding 2 IM1532 Bus Unit Manufacter Code 6ES7195 7HD100XA0 | 2 | Nos | con1931.npcil.tn | 180
22 | Siemens make SIMATIC DP Bus module for ET 200M Bus Unit Manufacter Code 6ES71957HB000XA0 | Siemens make SIMATIC DP Bus module for ET 200M Bus Unit Manufacter Code 6ES71957HB000XA0 | 2 | Nos | con1931.npcil.tn | 180
23 | Siemens make SIMATIC DP Connection plug for PROFIBUS PROFIBUS busconnector Manufacter Code 6ES79720BB520XA0 | Siemens make SIMATIC DP Connection plug for PROFIBUS PROFIBUS busconnector Manufacter Code 6ES79720BB520XA0 | 3 | Nos | con1931.npcil.tn | 180
24 | Siemens make SIMATIC S7 RAM Memory Card for S7 400 64 Mbyte Memory Card Manufacter Code 6ES79521AY000AA0 | Siemens make SIMATIC S7 RAM Memory Card for S7 400 64 Mbyte Memory Card Manufacter Code 6ES79521AY000AA0 | 2 | Nos | con1931.npcil.tn | 180
25 | Siemens make SIEMENS UR2H Split2 x 9 Slot Rack rack For S7400 RH System Manufacter Code 6ES7 400 2JA000AA0 | Siemens make SIEMENS UR2H Split2 x 9 Slot Rack rack For S7400 RH System Manufacter Code 6ES7 400 2JA000AA0 | 1 | Nos | con1931.npcil.tn | 180
26 | Siemens make SIEMENS PS407 120230Vuc5V10AManufacter Code 6ES7 407 0KA020AA0 | Siemens make SIEMENS PS407 120230Vuc5V10AManufacter Code 6ES7 407 0KA020AA0 | 2 | Nos | con1931.npcil.tn | 180
27 | Siemens make SIEMENS Memory Card FEPROM 8MB Manufacter Code 6ES7 9521KP000AA0 | Siemens make SIEMENS Memory Card FEPROM 8MB Manufacter Code 6ES7 9521KP000AA0 | 2 | Nos | con1931.npcil.tn | 180
28 | Siemens make SIEMENS Profibus connector without PG socket angle Cable outlet Manufacter Code 6ES7 9720BA120XA0 | Siemens make SIEMENS Profibus connector without PG socket angle Cable outlet Manufacter Code 6ES7 9720BA120XA0 | 4 | Nos | con1931.npcil.tn | 180
29 | Siemens make SIEMENS ET200M IM 1532Redundancy Bundle consist of IM 1532 6ES7153 2BA100XB0 2 Nos IMIMBus Module 6ES7 195 7HD100XA0 1 No.Manufacter Code 6ES7 2AR040XA0 | Siemens make SIEMENS ET200M IM 1532Redundancy Bundle consist of IM 1532 6ES7153 2BA100XB0 2 Nos IMIMBus Module 6ES7 195 7HD100XA0 1 No.Manufacter Code 6ES7 532AR040XA0 | 3 | Nos | con1931.npcil.tn | 180
30 | Siemens make SIEMENS Simatic ModbusTCP PN redundancy for S7 400 PN System Manufacter Code 6AV6 6766MB100AX0 | Siemens make SIEMENS Simatic ModbusTCP PN redundancy for S7 400 PN System Manufacter Code 6AV6 6766MB100AX0 | 2 | Nos | con1931.npcil.tn | 180
31 | Siemens make SIEMENS ET200M RAIL 620MMManufacter Code 6ES7 195 1GG300XA0 | Siemens make SIEMENS ET200M RAIL 620MMManufacter Code 6ES7 195 1GG300XA0 | 2 | Nos | con1931.npcil.tn | 180
32 | Siemens make SIEMENS ET200M Bus Unit F. 2 40MM IO Modules Manufacter Code 6ES7 195 7HB000XA0 | Siemens make SIEMENS ET200M Bus Unit F. 2 40MM IO Modules Manufacter Code 6ES7 195 7HB000XA0 | 8 | Nos | con1931.npcil.tn | 180
33 | Siemens make SIEMENS SM322 16Ch. Digital Output Dignostics 24Vdc 0.5A Manufacter Code 6ES7 322 8BH100AB0 | Siemens make SIEMENS SM322 16Ch. Digital Output Dignostics 24Vdc 0.5A Manufacter Code 6ES7 322 8BH100AB0 | 5 | Nos | con1931.npcil.tn | 180
34 | Siemens make SIEMENS SIMATIC DP HART analog input SM 331 8 AI 04 20mA Manufacter Code 6ES73317TF010AB0 | Siemens make SIEMENS SIMATIC DP HART analog input SM 331 8 AI 04 20mA Manufacter Code 6ES73317TF010AB0 | 5 | Nos | con1931.npcil.tn | 180
35 | Siemens make SIEMENS SM332 8Ch. Analog Output VI Manufacter Code 6ES7 3325HF000AB0 | Siemens make SIEMENS SM332 8Ch. Analog Output VI Manufacter Code 6ES7 3325HF000AB0 | 2 | Nos | con1931.npcil.tn | 180
36 | Siemens make SIEMENS Scalance XB208 managed 8 x 10100 Mbps RJ45 Ports Manufacter Code 6GK5 208 0BA002TB2 | Siemens make SIEMENS Scalance XB208 managed 8 x 10100 Mbps RJ45 Ports Manufacter Code 6GK5 208 0BA002TB2 | 2 | Nos | con1931.npcil.tn | 180
37 | Siemens make SIEMENS Scalance XB0041LD 4 x 10100 Mbps RJ45 Ports 1 x 100Mbps SC FO Port Manufacter Code 6GK5 004 1BF001AB2 | Siemens make SIEMENS Scalance XB0041LD 4 x 10100 Mbps RJ45 Ports 1 x 100Mbps SC FO Port Manufacter Code 6GK5 004 1BF001AB2 | 2 | Nos | con1931.npcil.tn | 180
38 | Siemens make SIEMENS SCALANCE XR32412Mmanaged IE switch 19 rack12x 1001000 Mbits 2port media modules Manufacter Code 6GK5 3240GG10 3AR2 | Siemens make SIEMENS SCALANCE XR32412Mmanaged IE switch 19 rack12x 1001000 Mbits 2port media modules Manufacter Code 6GK5 3240GG10 3AR2 | 2 | Nos | con1931.npcil.tn | 180
39 | Siemens make SIEMENS SCALANCE S615 LAN routerManufacter Code 6GK5 615 0AA002AA2 | Siemens make SIEMENS SCALANCE S615 LAN routerManufacter Code 6GK5 615 0AA002AA2 | 2 | Nos | con1931.npcil.tn | 180
40 | Siemens make SIEMENS SCALANCE X accessory SFP9911LD 1x 100 MbitsLC port optical singlemode optical up to max. 26 km Manufacter Code 6GK5 991 1AF008AA0 | Siemens make SIEMENS SCALANCE X accessory SFP9911LD 1x 100 MbitsLC port optical singlemode optical up to max. 26 km Manufacter Code 6GK5 991 1AF008AA0 | 4 | Nos | con1931.npcil.tn | 180
41 | Siemens make SIEMENS XR 300 media module SCALANCE X accessory Media module MM992 2SFP 2x 1001000 Mbits for SFP Plugin transceiver Manufacter Code 6GK5 992 2AS008AA0 | Siemens make SIEMENS XR 300 media module SCALANCE X accessory Media module MM992 2SFP 2x 1001000 Mbits for SFP Plugin transceiver Manufacter Code 6GK5 992 2AS008AA0 | 2 | Nos | con1931.npcil.tn | 180
42 | Siemens make SIEMENS SCALANCE X accessory Media module MM992 2CUC 2x 101001000Mbits RJ45 ports electrical with securing collar Manufacter Code 6GK5 992 2GA008AA0 | Siemens make SIEMENS SCALANCE X accessory Media module MM992 2CUC 2x 101001000Mbits RJ45 ports electrical with securing collar Manufacter Code 6GK5 992 2GA008AA0 | 2 | Nos | con1931.npcil.tn | 180
43 | Siemens make SIEMENS SCALANCE XB216 managed layer 2 IE switch 16X 10100 Mbps RJ45 ports 1x console port diagnostics LEDs redundant power supply Manufacter Code 6GK5 216 0BA002AB2 | Siemens make SIEMENS SCALANCE XB216 managed layer 2 IE switch 16X 10100 Mbps RJ45 ports 1x console port diagnostics LEDs redundant power supply Manufacter Code 6GK5 216 0BA002AB2 | 2 | Nos | con1931.npcil.tn | 180
44 | Siemens make SIEMENS CPU 1512SP1PNManufacter Code 6ES7 512 1DK010AB0 | Siemens make SIEMENS CPU 1512SP1PNManufacter Code 6ES7 512 1DK010AB0 | 2 | Nos | con1931.npcil.tn | 180
45 | Siemens make SIEMENS Simatic S7 Memory Card 4MB Manufacter Code 6ES7 9548LC030AA0 | Siemens make SIEMENS Simatic S7 Memory Card 4MB Manufacter Code 6ES7 9548LC030AA0 | 2 | Nos | con1931.npcil.tn | 180
46 | Siemens make SIEMENS Bus Adapter 2XRJ45 Manufacter Code 6ES7 1936AR000AA0 | Siemens make SIEMENS Bus Adapter 2XRJ45 Manufacter Code 6ES7 1936AR000AA0 | 2 | Nos | con1931.npcil.tn | 180
47 | Siemens make SIEMENS Standard Mounting Rail 35mm Manufacter Code 6ES5 7108MA21 | Siemens make SIEMENS Standard Mounting Rail 35mm Manufacter Code 6ES5 7108MA21 | 2 | Nos | con1931.npcil.tn | 180
48 | Siemens make SIEMENS ET200SP 16Ch. Digital Input Module Manufacter Code 6ES7 1316BH010BA0 | Siemens make SIEMENS ET200SP 16Ch. Digital Input Module Manufacter Code 6ES7 1316BH010BA0 | 5 | Nos | con1931.npcil.tn | 180
49 | Siemens make SIEMENS ET200SP 16Ch. Digital Output Module Manufacter Code 6ES7 1326BH010BA0 | Siemens make SIEMENS ET200SP 16Ch. Digital Output Module Manufacter Code 6ES7 1326BH010BA0 | 3 | Nos | con1931.npcil.tn | 180
50 | Siemens make SIEMENS ET200SP 8Ch. 24 W AI Module Manufacter Code 6ES7 1346GF000AA1 | Siemens make SIEMENS ET200SP 8Ch. 24 W AI Module Manufacter Code 6ES7 1346GF000AA1 | 3 | Nos | con1931.npcil.tn | 180
51 | Siemens make SIEMENS ET 200SP 4Ch. AI Module 2W420mA HART Manufacter Code 6ES7 1346TD000CA1 | Siemens make SIEMENS ET 200SP 4Ch. AI Module 2W420mA HART Manufacter Code 6ES7 1346TD000CA1 | 2 | Nos | con1931.npcil.tn | 180
52 | Siemens make SIEMENS SIMATIC ET 200SP Base unit BU15P16A02B BUTYPEA0 Manufacter Code 6ES7 1936BP000BA0 | Siemens make SIEMENS SIMATIC ET 200SP Base unit BU15P16A02B BUTYPEA0 Manufacter Code 6ES7 1936BP000BA0 | 5 | Nos | con1931.npcil.tn | 180
53 | Siemens make SIEMENS SIMATIC ET 200SP Base unit BU15P16A02D BUTYPEA0 Manufacter Code 6ES7 1936BP000DA0 | Siemens make SIEMENS SIMATIC ET 200SP Base unit BU15P16A02D BUTYPEA0 Manufacter Code 6ES7 1936BP000DA0 | 3 | Nos | con1931.npcil.tn | 180
54 | Siemens make SIEMENS TP900 COMFORT 9 TFTTouch Display Manufacter Code 6AV2 1240JC010AX0 | Siemens make SIEMENS TP900 COMFORT 9 TFTTouch Display Manufacter Code 6AV2 1240JC010AX0 | 2 | Nos | con1931.npcil.tn | 180
55 | Siemens make SIEMENS SIMATIC ET 200SP Servermodule for ET 200SP Manufacter Code 6ES7 193 6PA000AA0 | Siemens make SIEMENS SIMATIC ET 200SP Servermodule for ET 200SP Manufacter Code 6ES7 193 6PA000AA0 | 2 | Nos | con1931.npcil.tn | 180
56 | Siemens make SIEMENS SITOP PSU100D 24 V12.5 AManufacter Code 6EP1 334 1LD00 | Siemens make SIEMENS SITOP PSU100D 24 V12.5 AManufacter Code 6EP1 334 1LD00 | 2 | Nos | con1931.npcil.tn | 180
57 | Onboard training program on Siemens PLCs SCADA and HMI Specifications as per Annexure A | Onboard training program on Siemens PLCs SCADA and HMI Specifications as per Annexure A | 1 | Nos | con1931.npcil.tn | 180