## Sheet1
Item Number | Item Title | Item Description | Item Quantity | Unit of Measure | Consignee ID | Delivery Period (In number of days)
3 | EM3090B-NS15A | FUSE 15A FITTING FOR HRC | 54 | no | SSS_SH33 | 180
5 | EM3090B-NSH-NS2 | HRC FUSE FITTING WITH FUSE LINK RATED 2A | 290 | no | SSS_SH33 | 180
8 | EM3090B-3NA78240RC | HRC FUSE LINK RATED 80A | 59 | no | SSS_SH33 | 180
13 | EM3090B-A-MG-0912 | TP MCCB RATED 250A(NSX250B) | 4 | no | SSS_SH33 | 180
15 | EM3090B-M-DI-00107-127V | D W TRANSFORMER CLASS F INSULATION380 127V,300VA 1PH,50HZ | 1 | no | SSS_SH33 | 180
18 | EM3090B-3NWNS2 | FUSE LINK 2AMPS | 40 | no | SSS_SH33 | 180
19 | EM3090B-B-SZ-0006 | CAM TYPE SWITCH WITH 2 POLE, 2 WAY ON OFF RATED 6A (S6-61038 | 13 | no | SSS_SH33 | 180
32 | EM3090B-D-SI-1071 | AUX CONTACTOR 10A,24V DC COIL WITH 2 NO+2NC (3TH30122OBB4) | 8 | no | SSS_SH33 | 180
33 | EM3090B-C60H2P25AC | D.P MINIATURE CIRCUIT BREAKER RATED 25A | 11 | no | SSS_SH33 | 180
34 | EM3100B-ME1221KF6000 | BREAKER CIRCUIT MOULDED CASE 300A WITH REAR CONNEC | 11 | no | SSS_SH33 | 180
35 | EM3090B-3TF32000ARO | POWER CONTRACTOR 16A,415V OPERATING COIL 1NO+1NC | 6 | no | SSS_SH33 | 180
38 | EM3090B-L-3D-0127 | RING TYPE COPPER LUGS 95 E 12 | 150 | no | SSS_SH33 | 180
40 | EM3090B-B-TC-2401 | ADD ON 1NO CONTACT | 28 | no | SSS_SH33 | 180
45 | EM3090B-D-SC-00460 | ON DELAY ELECTRONIC TIMER AC 110-240V HAVING RANGE 1-30S | 9 | no | SSS_SH33 | 180
46 | EM3090B-H-MM-0004 | BUZZER CUM FLASHER 230V, AC | 201 | no | SSS_SH33 | 180
49 | EM3090B-U-DEIF-0004 | LOAD SHARING UNIT | 3 | no | SSS_SH33 | 180
50 | EM3090B-B-TC-2252 | ILLUMINATED PUSHBUTTON INTEGRAL LED 230V GREEN | 122 | no | SSS_SH33 | 180
60 | EM3090B-D-SC-00514 | PNEUMATIC ON DELAY TIMER RANGE 0.1-30S WITH 1NO + 1NC | 14 | no | SSS_SH33 | 180
62 | EM3090B-E-SC-04078 | TRIPLE POLE MINIATURE CIRCUIT BREAKER RATED 63A | 15 | no | SSS_SH33 | 180
68 | EM3090B-H-SC-00001 | INDICATING LAMP INTEGRAL LED WHITE COLOUR,230V AC | 594 | no | SSS_SH33 | 180
69 | EM3090B-H-SC-00002 | INDICATING LAMP INTEGRAL LED GREEN COLOUR,230V AC | 205 | no | SSS_SH33 | 180
70 | EM3090B-LM200 | TRIPLE POLE MCCB 200A | 3 | no | SSS_SH33 | 180
76 | EM3090B-B-TC-2133 | SHROUDED PUSHBUTTON YELLOW COLOUR WITH 1NO CONTACT | 70 | no | SSS_SH33 | 180
77 | EM3090B-C-SC-00916 | CONTACTOR RATED 80A, 24V DC COIL WITH 1NO+1NC | 5 | no | SSS_SH33 | 180
78 | EM3090B-G-RS-00103 | KILOWATTMETER 0-500KW 3 WIRE 2 ELEMENTS | 5 | no | SSS_SH33 | 180
79 | EM3090B-G-RS-01072 | AMMETER 0-600A,CTR 600/5A,SIZE 96X96MM 240 DEG SCALE | 2 | no | SSS_SH33 | 180
80 | EM3090B-NSH32A-NS4 | HRC FUSE FITTING WITH FUSE LINK RATED 4AMPS | 70 | no | SSS_SH33 | 180
83 | EM3090B-1302223 | NAS01-0011TB HDD | 2 | no | SSS_SH33 | 180
84 | EM3090B-1312 22 | CAM TYPE SINGLE POLE ON-OFF SWITCH 10AMPS,1S160 | 47 | no | SSS_SH33 | 180
85 | EM3090B-1312 30 | REVERSE POWER RELAY 415 480V, L-L-6A,TYPE T2000-01-20 | 1 | no | SSS_SH33 | 180
86 | EM3090B-1M3 | TRANSFORMER 380/220V/110/24V/1000VA | 3 | no | SSS_SH33 | 180
87 | EM3090B-1S160 | SINGLE POLE ON-OFF CAM SWITCH 10AMPS | 11 | no | SSS_SH33 | 180
88 | EM3090B-2060-4 | 20 KVA RADIO TRANSFORMER | 2 | no | SSS_SH33 | 180
89 | EM3090B-3NW220NNSF | FUSE BASE 20A | 7 | no | SSS_SH33 | 180
90 | EM3090B-BCH-6-335-H | CONTACTOR 70A T.P. (CONTACTOR KIT) | 11 | no | SSS_SH33 | 180
91 | EM3090B-C-SI-0660 | CONTACTOR 205A-24V DC COIL WTG 2 NO + 2NC(3TF53-02-ODE4) | 2 | no | SSS_SH33 | 180
92 | EM3090B-G-AE-5007 | VOLTMETER 0-150V,400Hz ACC CLASS 1,96X96 RM AT 115V (SIF-96) | 2 | no | SSS_SH33 | 180
93 | EM3090B-H-SC-00003 | INDICATING LAMP INTEGRAL LED RED COLOUR,230V AC | 223 | no | SSS_SH33 | 180
94 | EM3090B-SMI-96-AM400 | AMMETER RATED 0-400A,CTR 400/5A,SIZE 96X96MM-SMI-96 | 1 | no | SSS_SH33 | 180