## Sheet1
SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF 9 NO'S OF 1.5TR & 4 NO'S OF 2 TR HI-WALL SPLIT AIR CONDITIONING UNITS
GeM BID NO. GEM/2026/B/7387262
Sl. No | Description | UoM | Qty | HSN/SAC Code | Unit Price in INR | GST (in INR) |  |  | Unit Price Inclusive of GST etc. in INR | Total Price Inclusive of GST in INR
[6 empty] | CGST @ ____% | SGST @ ____% | IGST @ ____%
A | B | C | D | E | F | G |  |  | H= F+G | I=H*D
I. | SUPPLY OF FOLLWING ITEMS:
1 | 1.5 TR Air Conditioner | NOS. | 9
2 | 2 TR Air Conditioner | NOS. | 4
3 | HI-WALL SPLIT UNITS: Lifting, Shifting & Positioning of HI-WALL SPLIT UNIT'S Out Door Unit: 1. Installation Testing & commissioning of 13 Nos HI-WALL SPLIT type units of the aforementioned capacities. | AU | 1
4 | Copper Refrigerant piping & necessary accessories 1. SITC of copper refrigerant piping of various sizes with 20 SWG hard drawn copper piping along with necessary supports, fittings and clamps, insulation with 9mm thk class nitrile rubber insulation. 2. Copper piping shall be of current testing. (SECTION AND DISCHARGE PIPE'S 1/4 to 5/8 sizes) | RMT | 40
5 | 4C x 1.5sqmm Unarmoured Coppler Flexible Cable: 1. SITC 4C*1.5sqmm. unarmoured copper flexible cable in communication between indoor and outdoor units of NON-VRF system | RMT | 40
6 | SITC of HARD PVC drain pipe with supports, clamps insulation of the following sizes & Insulations
a | 25MM Dia. | RMT | 40
b | Supply, Installation, Testing and Commissioning of MS Stand with White Colour | NOS. | 13
Grand Total Amount in figures(in Rupees):
Grand Total Amount in Words:
`1. | Scope of Supply: (Cost break-up of the quoted cost, showing inter-alia costs of all the concomitant Installation/ Commissioning/ Training/ Technical Support/ incidental services/ software/ accessories, considered necessary to make the proposal self-contained and complete must be indicated here.)
`2. | Taxation Details:
a) | PAN number
b) | Type of GST Registration (Registered, Unregistered, Composition, SEZ, RCM etc.)
c) | GSTIN number
d) | Registered Address as per GST registration and Place of Delivery for GST Purpose
e) | Contact Names, Nos. & email IDs for GST matters (Please mention primary and secondary contacts)
...............................................................................................................................................................
`3. | It is hereby certified that we have understood the General and Special Instructions to Tenderers (GIT and SIT), and also the General and Special Conditions of Contract (GCC and SCC) attached to the tender and have thoroughly examined specifications/ Quality Control Requirements and other stipulations in Buyer Added ATC/Buyer Added Scope of Work – Technical Specifications and Quality Control Requirements; and are thoroughly aware of the nature of stores required and our offer is to supply stores strictly in accordance with the requirements and according to the terms of the tender. We agree to abide solely by the General and Special Conditions of Contract and other conditions of the tender in accordance with the tender documents if the contract is awarded to us.
`4. | We hereby offer to supply the stores detailed above or such portion thereof, as you may specify in the acceptance of tender at the price quoted and agree to hold this offer open for acceptance for a period of ---- days from the date of opening of tender (i.e., upto ------), We shall be bound by the communication of acceptance despatched within the prescribe time.
`5. | Earnests Money/Bid Guarantee for an amount equal to …………………………………... is enclosed in form of ------------------------(form and reference number, date) as per the Tender Documents.
Dated…………………
Signature and seal of Manufacturer/Bidder
Note:
i. | The Bidder may prepare their own offer forms as per this proforma.
ii. | No change in the proforma is permissible.
iii. | No erasures or alterations in the text of the offer are permitted. Any correction made in the offer shall be initialled by the bidder.