## Sheet1
Item Number | Item Title | Item Description | Item Quantity | Unit of Measure | Consignee ID | Delivery Period (In number of days)
1 | Rubber coupling | Technical Specification as per Appx | 15 | Nos | 55user14 | 60
2 | Metal coupling | Technical Specification as per Appx | 18 | Nos | 55user14 | 60
3 | Mounting bolt | Technical Specification as per Appx | 14 | Nos | 55user14 | 60
4 | Fuel filter | Technical Specification as per Appx | 12 | Nos | 55user14 | 60
5 | Engine oil filter | Technical Specification as per Appx | 17 | Nos | 55user14 | 60
6 | Air cleaner element | Technical Specification as per Appx | 22 | Nos | 55user14 | 60
7 | Fan belt | Technical Specification as per Appx | 22 | Nos | 55user14 | 60
8 | Exhaust fan | Technical Specification as per Appx | 25 | Nos | 55user14 | 60
9 | Fuel filter 40 KVA | Technical Specification as per Appx | 20 | Nos | 55user14 | 60
10 | Oil Filter 40 KVA | Technical Specification as per Appx | 22 | Nos | 55user14 | 60
11 | Air filter 40 KVA | Technical Specification as per Appx | 35 | Nos | 55user14 | 60
12 | Fuel pipe line 40 KVA | Technical Specification as per Appx | 29 | Nos | 55user14 | 60
13 | Injector Nozzle 40 KVA | Technical Specification as per Appx | 18 | Nos | 55user14 | 60
14 | Stopper Solenoid 40 KVA | Technical Specification as per Appx | 14 | Nos | 55user14 | 60
15 | Fuel pipe element | Technical Specification as per Appx | 15 | Nos | 55user14 | 60
16 | Fuel filter 30 KVA | Technical Specification as per Appx | 35 | Nos | 55user14 | 60
17 | Oil Filter 30 KVA | Technical Specification as per Appx | 38 | Nos | 55user14 | 60
18 | Air filter 30 KVA | Technical Specification as per Appx | 18 | Nos | 55user14 | 60
19 | Fuel pipe line 30 KVA | Technical Specification as per Appx | 15 | Nos | 55user14 | 60
20 | Injector Nozzle 30 KVA | Technical Specification as per Appx | 8 | Nos | 55user14 | 60
21 | Stopper Solenoid 30 KVA | Technical Specification as per Appx | 9 | Nos | 55user14 | 60
22 | Exhaust fan | Technical Specification as per Appx | 10 | Nos | 55user14 | 60
23 | Fuel pipe line 60 KVA | Technical Specification as per Appx | 10 | Nos | 55user14 | 60
24 | Piston 20 KVA Gen Set | Technical Specification as per Appx | 25 | Nos | 55user14 | 60
25 | Piston ring set 20 KVA Gen Set | Technical Specification as per Appx | 25 | Nos | 55user14 | 60
26 | Big end brg 20 KVA Gen Set | Technical Specification as per Appx | 11 | Nos | 55user14 | 60
27 | Piston Pin 20 KVA Gen Set | Technical Specification as per Appx | 25 | Nos | 55user14 | 60
28 | Piston Pin Bush 20 KVA Gen Set | Technical Specification as per Appx | 20 | Nos | 55user14 | 60
29 | Injector Nozzle 20 KVA Gen Set | Technical Specification as per Appx | 20 | Nos | 55user14 | 60
30 | Fuel Pipe 20 KVA Gen Set | Technical Specification as per Appx | 22 | Nos | 55user14 | 60
31 | Oil Sump Gasket 20 KVA Gen Set | Technical Specification as per Appx | 12 | Nos | 55user14 | 60
32 | Oil Cooler Rubber Seal 20 KVA Gen Set | Technical Specification as per Appx | 16 | Nos | 55user14 | 60
33 | Tappet Cover Rubber Seal 20 KVA Gen Set | Technical Specification as per Appx | 18 | Nos | 55user14 | 60
34 | Exhaust Pipe 20 KVA Gen Set | Technical Specification as per Appx | 11 | Nos | 55user14 | 60
35 | Push rod oil Seal 20 KVA Gen Set | Technical Specification as per Appx | 26 | Nos | 55user14 | 60
36 | Fan Belt 20 KVA Gen Set | Technical Specification as per Appx | 9 | Nos | 55user14 | 60
37 | Oil Filter 20 KVA Gen Set | Technical Specification as per Appx | 18 | Nos | 55user14 | 60
38 | Fuel Fiter 20 KVA Gen Set | Technical Specification as per Appx | 20 | Nos | 55user14 | 60
39 | Fuel Filter 15 KVA Gen Set | Technical Specification as per Appx | 16 | Nos | 55user14 | 60
40 | Oil Filter 15 KVA Gen Set | Technical Specification as per Appx | 10 | Nos | 55user14 | 60
41 | Air Cleaner Hose Pipe 15 KVA Gen Set | Technical Specification as per Appx | 12 | Nos | 55user14 | 60
42 | Fuel Pipe 15 KVA Gen Set | Technical Specification as per Appx | 22 | Nos | 55user14 | 60
43 | Fuel Returning line 15 KVA Gen Set | Technical Specification as per Appx | 9 | Nos | 55user14 | 60
44 | Injector Fuel Returning Pipe 15 KVA Gen Set | Technical Specification as per Appx | 16 | Nos | 55user14 | 60
45 | Tppet cover Rubber seal 15 KVA Gen Set | Technical Specification as per Appx | 20 | Nos | 55user14 | 60
46 | High Pressure line 15 KVA Gen Set | Technical Specification as per Appx | 14 | Nos | 55user14 | 60
47 | MCB 15 AMP 4 Pole 15 KVA Gen Set | Technical Specification as per Appx | 15 | Nos | 55user14 | 60
48 | Fuel Filter 7.5 KVA Gen Set | Technical Specification as per Appx | 19 | Nos | 55user14 | 60
49 | Oil Filter 7.5 KVA Gen Set | Technical Specification as per Appx | 17 | Nos | 55user14 | 60
50 | Air Cleaner Hose Pipe 7.5 KVA Gen Set | Technical Specification as per Appx | 15 | Nos | 55user14 | 60
51 | Fuel Hose pipe 7.5 KVA Gen Set | Technical Specification as per Appx | 11 | Nos | 55user14 | 60
52 | Injector Nozzle 7.5 KVA Gen Set | Technical Specification as per Appx | 15 | Nos | 55user14 | 60
53 | Injector Fuel Returning Pipe 7.5 KVA Gen Set | Technical Specification as per Appx | 14 | Nos | 55user14 | 60
54 | Tappet Cover Rubber Seal 7.5 KVA Gen Set | Technical Specification as per Appx | 9 | Nos | 55user14 | 60
55 | Inlet Hose Gasket 7.5 KVA Gen Set | Technical Specification as per Appx | 13 | Nos | 55user14 | 60
56 | Exhaust Hode Gasket 7.5 KVA Gen Set | Technical Specification as per Appx | 20 | Nos | 55user14 | 60
57 | Single Element Fuel Pump 7.5 KVA Gen Set | Technical Specification as per Appx | 18 | Nos | 55user14 | 60
58 | Volt Meter 7.5 KVA Gen Set | Technical Specification as per Appx | 8 | Nos | 55user14 | 60
59 | Frequency Meter 7.5 KVA Gen Set | Technical Specification as per Appx | 12 | Nos | 55user14 | 60
60 | MCB 10 Amp 4 Pole 7.5 KVA Gen Set | Technical Specification as per Appx | 15 | Nos | 55user14 | 60
61 | Washer 19 mm 7.5 KVA Gen Set | Technical Specification as per Appx | 35 | Nos | 55user14 | 60
62 | Washer 17mm 7.5 KVA Gen Set | Technical Specification as per Appx | 40 | Nos | 55user14 | 60
63 | Washer 13mm 7.5 KVA Gen Set | Technical Specification as per Appx | 40 | Nos | 55user14 | 60
64 | Distilled Water 20 KVA Gen Set | Technical Specification as per Appx | 30 | Nos | 55user14 | 60
65 | Distilled Water 30 KVA Gen Set | Technical Specification as per Appx | 30 | Nos | 55user14 | 60
66 | Distilled Water 40 KVA Gen Set | Technical Specification as per Appx | 30 | Nos | 55user14 | 60
67 | Canopy Lamp 20 KVA Gen Set 12 V | Technical Specification as per Appx | 29 | Nos | 55user14 | 60
68 | Canopy Lamp 20 KVA Gen Set 24V | Technical Specification as per Appx | 27 | Nos | 55user14 | 60
69 | MCB 32 Amp TPN 20 KVA Gen Set | Technical Specification as per Appx | 22 | Nos | 55user14 | 60
70 | MCB 40 Amp TPN 20 KVA Gen Set | Technical Specification as per Appx | 28 | Nos | 55user14 | 60
71 | MCB 63 Amp 20 KVA Gen Set | Technical Specification as per Appx | 28 | Nos | 55user14 | 60
72 | Auto changover 32 Amp | Technical Specification as per Appx | 20 | Nos | 55user14 | 60
73 | Spark Plug 2.4 KVA Gen Set | Technical Specification as per Appx | 22 | Nos | 55user14 | 60
74 | Carboreter 2.4 KVA Gen Set | Technical Specification as per Appx | 24 | Nos | 55user14 | 60
75 | Flexible Wire | Technical Specification as per Appx | 150 | Mtr | 55user14 | 60
76 | Fuel Filter 63 KVA Gen Set | Technical Specification as per Appx | 35 | Nos | 55user14 | 60
77 | Oil Filter 63 KVA Gen | Technical Specification as per Appx | 30 | Nos | 55user14 | 60
78 | Air Filter 63 KVA Gen | Technical Specification as per Appx | 25 | Nos | 55user14 | 60
79 | Fan Belt 63 KVA Gen | Technical Specification as per Appx | 20 | Nos | 55user14 | 60
80 | Oil Filter 5 KVA Gen | Technical Specification as per Appx | 20 | Nos | 55user14 | 60
81 | Fuel Filter 5 KVA Gen | Technical Specification as per Appx | 20 | Nos | 55user14 | 60
82 | Head Piston Cyl 5 KVA Gen | Technical Specification as per Appx | 30 | Nos | 55user14 | 60
83 | Oil Filter 3.5 KVA Gen | Technical Specification as per Appx | 25 | Nos | 55user14 | 60
84 | Fuel Filter 3.5 KVA Gen | Technical Specification as per Appx | 22 | Nos | 55user14 | 60
85 | Silencer | Technical Specification as per Appx | 25 | Nos | 55user14 | 60