## Sheet1
Item Number | Item Title | Item Description | Item Quantity | Unit of Measure | Consignee ID | Delivery Period (In number of days)
1 | IP Based 5 MP DOME Network Camera with 128GB SD card | IP Dome Camera as per Item specification document | 2 | nos | aairjycns2 | 45
2 | IP based 5 MP Bullet Network Camera with 128GB SD card | IP based 5 MP Bullet Network Camera as per specification document | 9 | nos | aairjycns2 | 45
3 | 16 Channel NVR with 4K Support and Three numbers of 10TB HDDs | As per Item specification document | 1 | nos | aairjycns2 | 45
4 | 24 inch LED Monitor for NVR | As per specification document | 1 | nos | aairjycns2 | 45
5 | Client PC with 32 inch LED monitor | As per specification document | 1 | nos | aairjycns2 | 45
6 | 1KVA Offline UPS | As per specification document | 1 | nos | aairjycns2 | 45
7 | ENTERPRISE GRADE NETWORK SWITCH POE 24 PORT GIGABIT, 4 SFP Ports | as per specification document | 2 | nos | aairjycns2 | 45
8 | CAT6 STP outdoor CABLE bundles 305 Meters each bundle | Cat-6 cable as per specifications | 6 | bundles | aairjycns2 | 45
9 | Biometric Finger print, card and PIN based access control device | As per Specifications | 2 | nos | aairjycns2 | 45
10 | Exit Switch. | As per Specifications | 2 | nos | aairjycns2 | 45
11 | EM lock. | As per Specifications | 2 | nos | aairjycns2 | 45
12 | High frequency HID proximity PVC access card | As per Specifications | 50 | nos | aairjycns2 | 45
13 | Laptop for maintenance | As per Specifications | 1 | nos | aairjycns2 | 45
14 | 25 mm dia, 16 SWG ISI marked PVC conduit with accessories | As per Specifications | 500 | meters | aairjycns2 | 45
15 | Power supply DB box and MCB with accessories | As per Specifications | 1 | nos | aairjycns2 | 45
16 | PVC Casing and capping 1 inch and 2 inch, 100 meters each | As per Specifications | 200 | meters | aairjycns2 | 45
17 | Installation, laying, testing and commissioning of above items to the SCCTV and Access Control system as per specifications | Installation testing and commissioning | 1 | job | aairjycns2 | 45