## Sheet1
Item Number | Item Title | Item Description | Item Quantity | Unit of Measure | Consignee ID | Delivery Period (In number of days)
1 | Supply installation testing and commissioning of 1600 KVA 11 by 0.433 KV Delta Star step down as per ATC attached | Supply installation testing and commissioning of 1600 KVA 11 by 0.433 KV Delta Star step down as per ATC attached | 1 | No | eeechd | 75
2 | Supply Installation Testing and Commissioning of 11 KV 630A Rated Breaking Capacity 21KA for 3sec SF6 insulated RMU as per ATC attached | Supply Installation Testing and Commissioning of 11 KV 630A Rated Breaking Capacity 21KA for 3sec SF6 insulated RMU as per ATC attached | 1 | Job | eeechd | 75
3 | SITC of 2500 Amps Sandwich type bus trunking as per ATC. | SITC of 2500 Amps Sandwich type bus trunking as per ATC. | 30 | Mtr | eeechd | 75
4 | Supplying and laying of 3 Core 150 Sqmm XLPE Insulated cable on the existing cable tray or RCC or HUME or Metal pipe or Susface as per ATC attached | Supplying and laying of 3 Core 150 Sqmm Stranded Aluminium Conductor Conductor Screen with Extruded Semi Conducting Compound XLPE Insulated cable on the existing cable tray or RCC or HUME or Metal pipe or Susface as per ATC attached | 30 | Mtr | eeechd | 75
5 | Supplying and laying of 3 Core 150 Sqmm Stranded Aluminium Conductor Conductor Screen with Extruded Semi Conducting Compound XLPE Insulated cable in the existing masonary duct as per ATC attached | Supplying and laying of 3 Core 150 Sqmm Stranded Aluminium Conductor Conductor Screen with Extruded Semi Conducting Compound XLPE Insulated cable in the existing masonary duct as per ATC attached | 80 | Mtr | eeechd | 75
6 | Supplying and makingoutdoor cable end termination with heat shrinkable joint for 3 core 150 Sqmm 111 KV grdae as per ATC attched. | Supplying and makingoutdoor cable end termination with heat shrinkable joint for 3 core 150 Sqmm 111 KV grdae as per ATC attched. | 8 | Nos | eeechd | 75
7 | Copper Plate Earthing complete as per ATC attached. | Copper Plate Earthing complete as per ATC attached. | 2 | Sets | eeechd | 75
8 | GI Plate Earthing complete as per ATC attached. | GI Plate Earthing complete as per ATC attached. | 2 | Sets | eeechd | 75
9 | Providing 50 mm and 5 mm thick copper strip on surface as per ATC attached. | 50 mm and 5 mm thick copper strip on surface as per ATC attached. | 50 | Mtr | eeechd | 75
10 | Providing 25 mm and 5 mm thick copper strip in 40 mm GI pipe as per ATC attached. | Providing 25 mm and 5 mm thick copper strip in 40 mm GI pipe as per ATC attached. | 50 | Mtr | eeechd | 75
11 | Providing 25 mm and 5 mm thick copper strip on surface as per ATC attached. | Providing 25 mm and 5 mm thick copper strip on surface as per ATC attached. | 75 | Mtr | eeechd | 75
12 | Supplying and Laying of 80 mm GI pipe A-Class on surface as per ATC attached. | Supplying and Laying of 80 mm GI pipe A-Class on surface as per ATC attached. | 15 | Mtr | eeechd | 75
13 | Supplying and Laying of 80 mm GI pipe A-Class in ground as per ATC attached. | Supplying and Laying of 80 mm GI pipe A-Class in ground as per ATC attached. | 6 | Mtr | eeechd | 75
14 | Supplying and Laying 120 mm dia DWC HDPE pipe as per ATC attached. | Supplying and Laying 120 mm dia DWC HDPE pipe as per ATC attached. | 25 | Mtr | eeechd | 75
15 | Supply and Installation of 4.5 Kg CO2 type Fire extinguisher ISI marked as per ATC attached. | Supply and Installation of 4.5 Kg CO2 type Fire extinguisher ISI marked as per ATC attached. | 2 | Nos | eeechd | 75
16 | Supply and Installation of 06 Kgs ABS powder type fire extinguishers as per ATC attached. | Supply and Installation of 06 Kgs ABS powder type fire extinguishers as per ATC attached. | 2 | Nos | eeechd | 75
17 | Supply and Installation of 3 mm thick rubber mat suitable for 33 KV as per ATC attached. | Supplyand Installation of 3 mm thick rubber mat suitable for 33 KV as per ATC attached. | 10 | Mtrs | eeechd | 75
18 | Supply and installation 0f 4 Nos 9.5 Ltrs Capacity GI Bucket as per ATC attached. | Supply and installation 0f 4 Nos 9.5 Ltrs Capacity GI Bucket as per ATC attached. | 1 | Nos | eeechd | 75
19 | Supply and installation of first Aid Box as per ATC attached. | Supply and installation of first Aid Box as per ATC attached. | 1 | Nos | eeechd | 75
20 | Supply and fixing safety instruction chart as per ATC attached. | Supply and fixing safety instruction chart as per ATC attached. | 1 | Nos | eeechd | 75
21 | Supply and fixing shock treatment chart as per ATC attached. | Supply and fixing shock treatment chart as per ATC attached. | 1 | Nos | eeechd | 75
22 | Supplying and fixing of 40mm x 40mm x 5mm thick angle iron frame complete as per ATC attached. | Supplying and fixing of 40mm x 40mm x 5mm thick angle iron frame complete as per ATC attached. | 10 | Mtrs | eeechd | 75
23 | Supplying and fixing of single line diagram and layout diagram complete as per ATC attached. | Supplying and fixing of single line diagram and layout diagram complete as per ATC attached. | 2 | Jobs | eeechd | 75