## Sheet1
Item Number | Item Title | Item Description | Item Quantity | Unit of Measure | Consignee ID | Delivery Period (In number of days)
1 | BOQ Item No. 1 | Operation of baggage handling system ( Both Arrival and departure ) by engaging following minimum man power. a) Electrician cum operator/ Technician - Skilled - 04 Nos ( All days including weekly offs & holidays). b) Skilled - 01 No. for data entry & other miscellaneous work (In General Shift for six days in a week ) Note- Contractor has to provide Reliever on Weekly Offs / Holidays of above required staffs except for Sl. No. b) | 24 | Month | TECH_AYODHYA | 730
2 | BOQ Item No. 2 | Supply of Red Outer lens for RWY END light suitable for existing Airfield Ground Lighting System (AGL) complete as required .( Existing light fixture is of VARDHMAN make ) | 10 | Each | TECH_AYODHYA | 730
3 | BOQ Item No. 3 | Supply of Green Outer lens for RWY Threshold light suitable for existing Airfield Ground Lighting System (AGL) complete as required .( Existing light fixture is of VARDHMAN make ) | 25 | Each | TECH_AYODHYA | 730
4 | BOQ Item No. 4 | Supply of Yellow filter for runway Edge light suitable for existing Airfield Ground Lighting System (AGL) complete as required .( Existing light fixture is of VARDHMAN make ) | 40 | Each | TECH_AYODHYA | 730
5 | BOQ Item No. 5 | Supply of 200W, 6.6/6.6A Halogen Lamp PK30D(64382 HLX-C) make - OSRAM or equivalent suitable for existing AGL/ CAT-I Fittings complete as required . | 600 | Each | TECH_AYODHYA | 730
6 | BOQ Item No. 6 | Supply of Isolating transformer of 200 watts, 6.6A/6.6A, 5KV, 50 Hz suitable for existing AGL/CAT-I Light fixtures complete as required. | 50 | Each | TECH_AYODHYA | 730
7 | BOQ Item No. 7 | Supply of wind socks (CLOTH) for WDI(WHITE/RED) suitable for existing SGS make Wind Sock. | 12 | Each | TECH_AYODHYA | 730
8 | BOQ Item No. 8 | Supply of 360 degree Outer Clear Lens for Runway Edge light Fitting suitable for Existing light fixture of VARDHMAN make. | 5 | Each | TECH_AYODHYA | 730
9 | BOQ Item No. 9 | Supply of Clear Spreader Lens for Approach light Fitting suitable for Existing light fixture of VARDHMAN make. | 5 | Each | TECH_AYODHYA | 730
10 | BOQ Item No. 10 | Supply of Clear Lens for PAPI suitable for existing PAPI System of VARDHMAN make. | 10 | Each | TECH_AYODHYA | 730
11 | BOQ Item No. 11 | Supply of 2Cx 4 Sqmm. annealed tinned Copper conductor PVC insulated PVC Sheathed unarmoured flexible AFL secondary lead up to voltage garde 1.1 KV conforming to relevant IS up to date ammendment complete as required. | 180 | Meter | TECH_AYODHYA | 730
12 | BOQ Item No. 12 | Supply of minimum 9 W LED type aviation Obstruction Light in Red Colour having Die-cast aluminum housing with Red polycarbonate dome for better illumination, Integral driver, Ingress Protection - IP65 (Make- Bajaj or equivalent as approved by EIC) | 12 | Each | TECH_AYODHYA | 730
13 | BOQ Item No. 13 | Supply of 30 W movable LED flood light (Yellow colour) (Make - Philips , Type - BVP102 30 or equivalent) complete as required at site. | 2 | Each | TECH_AYODHYA | 730
14 | BOQ Item No. 14 | Supply of 150 A, 1000V, 50 sq. mm terminal block suitable for mounting on DIN RAIL suitable for existing panel complete as required at site. | 5 | Each | TECH_AYODHYA | 730
15 | BOQ Item No. 15 | Supply of LED Driver of 80W, 25 V suitable for existing Airfield signage board (Make-Electrosystem) installed in operational area complete as required at site. | 15 | Each | TECH_AYODHYA | 730
16 | BOQ Item No. 16 | Supply of 15 W LED suitable for existing Taxiway light fitting of Vardhman make complete as required at site. | 100 | Each | TECH_AYODHYA | 730
17 | BOQ Item No. 17 | Supply of electronic driver suitable for existing 15 W LED Taxiway light fitting of VARDHMAN Make complete as required at site. | 50 | Each | TECH_AYODHYA | 730
18 | BOQ Item No. 18 | Supply of MNX 70 Type 3 Pole Power contactor having AC-3 Duty, 70A Rating, AC1 -100 A rating, Coil Voltage- 230V AC, Suitable for lighting switching applications, panel mounting, conforming to conforming to IS/IEC 60947-4-1 etc. complete as required. | 3 | Each | TECH_AYODHYA | 730
19 | BOQ Item No. 19 | Supply of ISI Marked, Heavy Duty, Rigid PVC Conduit, Size- 25 mm dia, confirming to IS 9537 (Part 3) complete as required at site. | 300 | Meter | TECH_AYODHYA | 730
20 | BOQ Item No. 20 | Supply of National Flag of Size 9144 mm X 6096 mm as per BIS Specification No IS 1-1968 Latest complete as required at site. | 15 | Each | TECH_AYODHYA | 730
21 | BOQ Item No. 21 | Supply of 18 mtr length Tri-Colour LED Rope Light having transparent PVC type body material, IP65 protection, SMD LED Strip as per LM 80/IS16106, Conforming to IS 10322 and suitable for operation on 240 V, 50 HZ single Phase power supply complete as and when required. (Make-Philips/Halonix/Crompton/Bajaj/Osram) | 50 | Each | TECH_AYODHYA | 730
22 | BOQ Item No. 22 | Providing and Fixing of temporary decorative lighting in tri-colors of National Flag with LED series lighting at Terminal Building and Main Gate of Ayodhya Airport having uniform spacing of between two rows is not to be more than 0.30 mtr for a continious three days on the occassions of Republic day/Independence Day/Diwali/New Year including all wiring/connections from existing power tapping point , arrangement of required height ladder/other arrangement to work up 20 Meter height , tools and plants etc complete as required at site, . (Total approx. area for decoration in 1 job - 2510 Sq. Mtrs. (one Occassion is One Job) ) | 10 | Job | TECH_AYODHYA | 730
23 | BOQ Item No. 23 | Providing and Fixing of temporary decorative lighting in tri-colors/simple colors with LED strip lighting (min 10 mtr and upto 15 mtr strip) on each existing trees at Ayodhya Airport for a continous three days on the occassions of Republic day/Independence Day/Diwali/New Year including all wiring/connections etc complete as required at site. (1 Tree - 1 job) | 600 | Job | TECH_AYODHYA | 730