## Sheet1
Item Number | Item Title | Item Description | Item Quantity | Unit of Measure | Consignee ID | Delivery Period (In number of days)
1 | Supplying of inverter type split AC | Supplying of 1.5 TR wall mounted inverter type split AC unit 5 star as per BEE star rating | 140 | Nos | sdeep2@2024 | 365
2 | ITC of inverter type split AC unit | ITC of inverter type split AC unit alongwith copper piping | 140 | Nos | sdeep2@2024 | 365
3 | Supplying and fixing extra copper pipe line | Supplying and fixing extra copper pipe line both for liquid line | 300 | Mtr | sdeep2@2024 | 365
4 | Providing and fixing PVC pipe | Providing and fixing 20mm dia PVC pipe for drain water arrangement | 450 | Mtr | sdeep2@2024 | 365
5 | Supplying and fixing heavy duty iron stand | Supplying and fixing of powder coated heavy duty pre fabricated iron stand for wall mounting outdoor unit | 140 | Set | sdeep2@2024 | 365
6 | Supplying and laying 3 core 2 point 5 sqmm copper cable | Supplying and laying 3 core 2 point 5 sqmm PVC insulated and PVC sheathed flexible copper cable | 450 | Mtr | sdeep2@2024 | 365
7 | Supplying and fixing programmable timmer | Supplying and fixing of micro controller based programmable timmer for cyclic operation of two AC units | 75 | Nos | sdeep2@2024 | 365
8 | Removing of all window Split AC | Removing of all window mounted or wall mounted Split unserveseable AC | 100 | Job | sdeep2@2024 | 365
9 | Closing the opening of window AC | Closing the opening of window mounted AC with 12mm thick plywood | 50 | Job | sdeep2@2024 | 365
10 | Supplying and fixing SPN 4 Way Single door MCB DB | Supplying and fixing single pole and neutral 4 way MCB DB | 30 | Nos | sdeep2@2024 | 365
12 | Wiring for light power plug with 2 into 4 sqmm copper cable | Wiring for light power plug with 2 into 4 sqmm FRLS PVC insulated copper conductor single core cable | 200 | Mtr | sdeep2@2024 | 365
13 | Supplying and fixing 20 A SP MCB | Supplying and fixing 20 A SP MCB in the existing MCB DB | 80 | Nos | sdeep2@2024 | 365
15 | Supplying and fixing 40 A DP Isolator | Supplying and fixing 40 A DP Isolator in the existing MCB DB | 30 | Nos | sdeep2@2024 | 365