## Sheet1
Item Number | Item Title | Item Description | Item Quantity | Unit of Measure | Consignee ID | Delivery Period (In number of days)
1 | Super Structure Supply of Combined Toilet Block CTB 7.32M x 7.10M x 4.40M Height as per CE HQ 4 Corps drawing No CE 4 Corps as per TS under Job No 2532 | Super Structure Supply of Combined Toilet Block CTB 7.32M x 7.10M x 4.40M Height as per CE HQ 4 Corps drawing No CE 4 Corps as per TS under Job No 2532 | 2 | Set | ishanu_GEM | 60
2 | Constr Mtlrl Cement 43 Grade OPC packed in HDPE bag each 50 kg wt conform to IS 8112 to 1989 make Birla Gold or Ambuja or Ultratech or JK or Dalmia or ACC | Constr Mtlrl Cement 43 Grade OPC packed in HDPE bag each 50 kg wt conform to IS 8112 to 1989 make Birla Gold or Ambuja or Ultratech or JK or Dalmia or ACC | 160 | Bags | ishanu_GEM | 60
3 | Coarse sand free from vegetation | Coarse sand free from vegetation | 20 | Cum | ishanu_GEM | 60
4 | Coarse aggregate 20mm graded | Coarse aggregate 20mm graded | 6 | Cum | ishanu_GEM | 60
5 | Coarse aggregate 40 mm graded | Coarse aggregate 40 mm graded | 16 | Cum | ishanu_GEM | 60
6 | Coarse Aggregate 40 to 63 mm graded | Coarse Aggregate 40 to 63 mm graded | 18 | Cum | ishanu_GEM | 60
7 | Stone for RR masonary less than 6 inch | Stone for RR masonary less than 6 inch | 22 | Cum | ishanu_GEM | 60
8 | Mild steel bar of size 6 to 8 mm dia conform to IS 432 Part 1 1982 make TATA or SAIL or JSW | Mild steel bar of size 6 to 8 mm dia conform to IS 432 Part 1 1982 make TATA or SAIL or JSW | 40 | Kg | ishanu_GEM | 60
9 | Mild steel bar of size 10 mm dia and above conforming to IS 432 Part 1 1982 make TATA or SAIL or JSW | Mild steel bar of size 10 mm dia and above conforming to IS 432 Part 1 1982 make TATA or SAIL or JSW | 42 | Kg | ishanu_GEM | 60
10 | Water proofing compound conforming to IS 2645 to 2003 Make Pidilite or Dr Fixit or Fevicol | Water proofing compound conforming to IS 2645 to 2003 Make Pidilite or Dr Fixit or Fevicol | 16 | Kg | ishanu_GEM | 60
11 | B and R items Supply of 04 KLD High Altitude Bio Digester Tank with 4 to 5 CUM Tank Dimension 2m L x 2m B x 1m H Double Walled FRP Biodigester Tank as per TS | B and R items Supply of 04 KLD High Altitude Bio Digester Tank with 4 to 5 CUM Tank Dimension 2m L x 2m B x 1m H Double Walled FRP Biodigester Tank as per TS | 4 | Nos | ishanu_GEM | 60
12 | Water Storage tank triple layer 1000 Ltrs confirming to IS 12701 to 1996 Make Sintex or Ultrapure Aqua or Polywell | Water Storage tank triple layer 1000 Ltrs confirming to IS 12701 to 1996 Make Sintex or Ultrapure Aqua or Polywell | 4 | Nos | ishanu_GEM | 60
13 | Fabrication from Structural steel section for staging of water storage tank made of capacity 500 or 1000 ltrs made out of MS angle iron frame as per TS | Fabrication from Structural steel section for staging of water storage tank made of capacity 500 or 1000 ltrs made out of MS angle iron frame as per TS | 4 | Nos | ishanu_GEM | 60
14 | IWC of vitreous china squatting Pan Orissa pattern of size 580mmx440mm dark coloured with P or S trap Make Parryware or Hindware as per TS | IWC of vitreous china squatting Pan Orissa pattern of size 580mmx440mm dark coloured with P or S trap Make Parryware or Hindware as per TS | 10 | Nos | ishanu_GEM | 60
15 | WC European type model 2008 EWC and combi flush PVC flushing cistern of 10 Ltr capacity Make Cera or equivalent models in Hindware or Parryware | WC European type model 2008 EWC and combi flush PVC flushing cistern of 10 Ltr capacity Make Cera or equivalent models in Hindware or Parryware | 2 | Nos | ishanu_GEM | 60
16 | Flushing Cistern PVC combi flush model 2603 of Cera flushing cistern valve less symphonic action pipe flushing cistern as per TS | Flushing Cistern PVC combi flush model 2603 of Cera flushing cistern valve less symphonic action pipe flushing cistern as per TS | 10 | Nos | ishanu_GEM | 60
17 | Looking Mirror frameless of size 600X450x5mm with 4mm ply baking Make Prayag or Saint Gobin orModigaurd | Looking Mirror frameless of size 600X450x5mm with 4mm ply baking Make Prayag or Saint Gobin orModigaurd | 8 | Nos | ishanu_GEM | 60
18 | Brass Chromium plated Towel Rail 600 mm Long 20 mm dia with cloth hooks Make Ess Ess or Prayag Johnson Suisse | Brass Chromium plated Towel Rail 600 mm Long 20 mm dia with cloth hooks Make Ess Ess or Prayag Johnson Suisse | 16 | Nos | ishanu_GEM | 60
19 | Chromium plated Piller cock swan neck with aerator Make Ess Ess or Prayag or Johnson Suisse | Chromium plated Piller cock swan neck with aerator Make Ess Ess or Prayag or Johnson Suisse | 8 | Nos | ishanu_GEM | 60
20 | Stop Cock angular type chromium plated brass 15mm weight not less then 330 gms Make Ess Ess or Prayag or Johnson Suisse | Stop Cock angular type chromium plated brass 15mm weight not less then 330 gms Make Ess Ess or Prayag or Johnson Suisse | 28 | Nos | ishanu_GEM | 60
21 | Two Way bib cock long spout brass chromium plated 15mm weight not less then 330 gm Make Ess Ess or Prayag or Johnson Suisse | Two Way bib cock long spout brass chromium plated 15mm weight not less then 330 gm Make Ess Ess or Prayag or Johnson Suisse | 10 | Nos | ishanu_GEM | 60
22 | Stop Cock L Type Chromium plated Brass 15 mm Make Ess Ess or Prayag or Johnson Suisse | Stop Cock L Type Chromium plated Brass 15 mm Make Ess Ess or Prayag or Johnson Suisse | 28 | Nos | ishanu_GEM | 60
23 | Stop Cock T Type Chromium plated Brass 15 mm Make Ess Ess or Prayag or Johnson Suisse | Stop Cock T Type Chromium plated Brass 15 mm Make Ess Ess or Prayag or Johnson Suisse | 4 | Nos | ishanu_GEM | 60
24 | Bib Cock long spout chrom plated 15 mm Make Ess Ess or Prayag or Johnson Suisse | Bib Cock long spout chrom plated 15 mm Make Ess Ess or Prayag or Johnson Suisse | 20 | Nos | ishanu_GEM | 60
25 | PVC Connection 45 cm long 15 mm Make Supreme or Johnson Suisse or Famingo or KPT or equivalent | PVC Connection 45 cm long 15 mm Make Supreme or Johnson Suisse or Famingo or KPT or equivalent | 24 | Nos | ishanu_GEM | 60
26 | Peg set of six fitted with galvanised screws along the internal surface of the walls in the rooms Make Ess Ess or Prayag or Johnson Suisse or equivalent | Peg set of six fitted with galvanised screws along the internal surface of the walls in the rooms Make Ess Ess or Prayag or Johnson Suisse or equivalent | 4 | Nos | ishanu_GEM | 60
27 | PPR Pipe 32 mm dia Make SFMC or Finolex or Supreme | PPR Pipe 32 mm dia Make SFMC or Finolex or Supreme | 80 | RM | ishanu_GEM | 60
28 | PPR Pipe 20 mm Dia Make SFMC or FINOLEX or SUPREME | PPR Pipe 20 mm Dia Make SFMC or FINOLEX or SUPREME | 96 | RM | ishanu_GEM | 60
29 | PPR Socket 32 mm Make SFMC or Finolex or Supreme | PPR Socket 32 mm Make SFMC or Finolex or Supreme | 30 | Nos | ishanu_GEM | 60
30 | PPR Elbow 90 degree 32 mm Make SFMC or Finolex or Supreme | PPR Elbow 90 degree 32 mm Make SFMC or Finolex or Supreme | 16 | Nos | ishanu_GEM | 60
31 | PPR female thread socket 20 mm dia Make SFMC or Finolex or Supreme | PPR female thread socket 20 mm dia Make SFMC or Finolex or Supreme | 48 | Nos | ishanu_GEM | 60
32 | PPR female thread Elbow 90 degree elbow 20 mm dia Make SFMC or Finolex or Supreme or KPT | PPR female thread Elbow 90 degree elbow 20 mm dia Make SFMC or Finolex or Supreme or KPT | 30 | Nos | ishanu_GEM | 60
33 | PPR female thread T 20 mm Make SFMC or Finolex or Supreme or KPT | PPR female thread T 20 mm Make SFMC or Finolex or Supreme or KPT | 30 | Nos | ishanu_GEM | 60
34 | PPR Plain T 32 mm Make SFMC or Finolex or Supreme or KPT | PPR Plain T 32 mm Make SFMC or Finolex or Supreme or KPT | 12 | Nos | ishanu_GEM | 60
35 | PPR Reducer Elbow 32mm x 20mm Make SFMC or FINOLEX or SUPREME or KPT | PPR Reducer Elbow 32mm x 20mm Make SFMC or FINOLEX or SUPREME or KPT | 32 | Nos | ishanu_GEM | 60
36 | PPR Union 32 mm Make SFMC or Finolex or Supreme or KPT | PPR Union 32 mm Make SFMC or Finolex or Supreme or KPT | 8 | Nos | ishanu_GEM | 60
37 | Tank Connector 32 mm Make SFMC or Finolex or Supreme or KPT | Tank Connector 32 mm Make SFMC or Finolex or Supreme or KPT | 4 | Nos | ishanu_GEM | 60
38 | PVC Wall Clamp 32 MM Make SFMC or Finolex or Supreme or KPT | PVC Wall Clamp 32 MM Make SFMC or Finolex or Supreme or KPT | 40 | Nos | ishanu_GEM | 60
39 | PVC Wall Clamp 20 mm Make SFMC or Finolex or Supreme or KPT | PVC Wall Clamp 20 mm Make SFMC or Finolex or Supreme or KPT | 60 | Nos | ishanu_GEM | 60
40 | Float Valve 25 mm Make SFMC or Finolex or Supreme or KPT | Float Valve 25 mm Make SFMC or Finolex or Supreme or KPT | 4 | Nos | ishanu_GEM | 60
41 | Gate Valve 32 mm Make SFMC or Finolex or Supreme or KPT | Gate Valve 32 mm Make SFMC or Finolex or Supreme or KPT | 8 | Nos | ishanu_GEM | 60
42 | M Seal 150 GM Pkt Make Pidilite or Fevicol or M Seal | M Seal 150 GM Pkt Make Pidilite or Fevicol or M Seal | 10 | Pkt | ishanu_GEM | 60
43 | Taflon Tape Roll ISI Marked Make Supreme or Omega or Asbestos | Taflon Tape Roll ISI Marked Make Supreme or Omega or Asbestos | 10 | Roll | ishanu_GEM | 60
44 | Solvent Cement 150 GM Tube Make Finolex or Fit Well or Jindal | Solvent Cement 150 GM Tube Make Finolex or Fit Well or Jindal | 10 | Nos | ishanu_GEM | 60
45 | PVC Waste Pipe 32 mm and 1 m long Make Prince or Finolex or Supreme or KPT | PVC Waste Pipe 32 mm and 1 m long Make Prince or Finolex or Supreme or KPT | 12 | Nos | ishanu_GEM | 60
46 | Chromium Plated Waste coupling 32 mm dia Make Supreme or Johnson Suisse or Famingo or KPT | Chromium Plated Waste coupling 32 mm dia Make Supreme or Johnson Suisse or Famingo or KPT | 12 | Nos | ishanu_GEM | 60
47 | Non Skid Ceramic tiles of size 300mmx300mm on the floor Minimum thickness shall be between 6 to 8 mm tiles as per TS | Non Skid Ceramic tiles of size 300mmx300mm on the floor Minimum thickness shall be between 6 to 8 mm tiles as per TS | 1212 | Nos | ishanu_GEM | 60
48 | CP grating 100 mm dia Make Ess Ess or Prayag or Johnson Suisse | CP grating 100 mm dia Make Ess Ess or Prayag or Johnson Suisse | 20 | Nos | ishanu_GEM | 60
49 | PVC Pipe 110 mm dia each 3 mtr length Make Prince or Finolex or Supreme or KPT | PVC Pipe 110 mm dia each 3 mtr length Make Prince or Finolex or Supreme or KPT | 16 | Nos | ishanu_GEM | 60
50 | PVC Socket 110 mm dia Make Prince or Finolex or Supreme or KPT | PVC Socket 110 mm dia Make Prince or Finolex or Supreme or KPT | 32 | Nos | ishanu_GEM | 60
51 | PVC Bend 110 mm dia Make Prince or Finolex or Supreme or KPT | PVC Bend 110 mm dia Make Prince or Finolex or Supreme or KPT | 32 | Nos | ishanu_GEM | 60
52 | P Trap Make Hindware or Parryware or Cera | P Trap Make Hindware or Parryware or Cera | 2 | Nos | ishanu_GEM | 60
53 | S Trap Make Hindware or Parryware or Cera | S Trap Make Hindware or Parryware or Cera | 10 | Nos | ishanu_GEM | 60
54 | PVC air piep 25mm dia length 3M Make SFMC Finolex Supreme | PVC air piep 25mm dia length 3M Make SFMC Finolex Supreme | 8 | Nos | ishanu_GEM | 60
55 | White Cement confirming to IS 8042 to 1989 Make ACC or Birla Gold or Ambuja | White Cement confirming to IS 8042 to 1989 Make ACC or Birla Gold or Ambuja | 34 | Kgs | ishanu_GEM | 60
56 | Vitreous china Wash hand basin white of size 450mmx300mm with vitreous china pedestal of suitable size as per TS | Vitreous china Wash hand basin white of size 450mmx300mm with vitreous china pedestal of suitable size as per TS | 8 | Nos | ishanu_GEM | 60
57 | PPR Reducer Elbow 32mmx20mm dia Make SFMC or Finolex or Supreme or KPT | PPR Reducer Elbow 32mmx20mm dia Make SFMC or Finolex or Supreme or KPT | 40 | Nos | ishanu_GEM | 60
58 | Electric Geyser 25 Ltr | Electric Geyser 25 Ltr | 4 | Nos | ishanu_GEM | 60
59 | Brass CP wall mixer for mixing hot and cold water screwed down for PPR pipe of dia 20mm Make Cera or Hindware or Parryware or ISI equivalent | Brass CP wall mixer for mixing hot and cold water screwed down for PPR pipe of dia 20mm Make Cera or Hindware or Parryware or ISI equivalent | 8 | Nos | ishanu_GEM | 60
60 | Brass chromium plated shower rose 100mm dia with bend Make Ess or Prayag or Johnson Suisse | Brass chromium plated shower rose 100mm dia with bend Make Ess or Prayag or Johnson Suisse | 8 | Nos | ishanu_GEM | 60
61 | Urinal Pot Vitreous China bowl urinal pot flat back Model 5004 confirming to IS 771 Part 3 Sec 2 Make Cera or Parryware or Hindware | Urinal Pot Vitreous China bowl urinal pot flat back Model 5004 confirming to IS 771 Part 3 Sec 2 Make Cera or Parryware or Hindware | 4 | Nos | ishanu_GEM | 60
62 | PVC T 110 mm Make Prince or Finolex or Supreme or KPT | PVC T 110 mm Make Prince or Finolex or Supreme or KPT | 16 | Nos | ishanu_GEM | 60
63 | Brass CP Jet water spray for EWC Make ESS ESS or Prayag or Johnson suisse | Brass CP Jet water spray for EWC Make ESS ESS or Prayag or Johnson suisse | 2 | Nos | ishanu_GEM | 60
64 | PPR reducer socket 32 to 25 Make SKMC or Finolex or Supreme | PPR reducer socket 32 to 25 Make SKMC or Finolex or Supreme | 4 | Nos | ishanu_GEM | 60
65 | PPR plaint socket 20mm dia Make SFMC or Finolex or Supreme | PPR plaint socket 20mm dia Make SFMC or Finolex or Supreme | 50 | Nos | ishanu_GEM | 60
66 | PPR elebow 20mm dia Make SFMC or Finolex or Supreme | PPR elebow 20mm dia Make SFMC or Finolex or Supreme | 4 | Nos | ishanu_GEM | 60
67 | E and M items Distribution box 6 way SPN 240 volts copper bus bar and neutral link earthing stud conforming as per TS | E and M items Distribution box 6 way SPN 240 volts copper bus bar and neutral link earthing stud conforming as per TS | 2 | Nos | ishanu_GEM | 60
68 | MCB SPN 240 Volts 32 Amps Make Havells or L and T or Standard | MCB SPN 240 Volts 32 Amps Make Havells or L and T or Standard | 2 | Nos | ishanu_GEM | 60
69 | MCB SP 6 to 32 Amps Make Havells or L and T or Standard | MCB SP 6 to 32 Amps Make Havells or L and T or Standard | 8 | Nos | ishanu_GEM | 60
70 | PVC tape 19mm wide 5 m long Make Steelgrip or Anchor or Kinjal | PVC tape 19mm wide 5 m long Make Steelgrip or Anchor or Kinjal | 4 | Nos | ishanu_GEM | 60
71 | Cable PVC insulated elecric cables heavy duty 1100 volts grade multi stranded copper conductor of size 1.5 Sqmm single core | Cable PVC insulated elecric cables heavy duty 1100 volts grade multi stranded copper conductor of size 1.5 Sqmm single core | 900 | RM | ishanu_GEM | 60
72 | PVC casing capping 1 inch x 6 ft long Medium Grade snow white Make Presto or Polycab or Finolex | PVC casing capping 1 inch x 6 ft long Medium Grade snow white Make Presto or Polycab or Finolex | 90 | RM | ishanu_GEM | 60
73 | Switch Piano 5 Amp 230 Volts Flush type one way snow white Make Anchor or SSK or CONA | Switch Piano 5 Amp 230 Volts Flush type one way snow white Make Anchor or SSK or CONA | 40 | Nos | ishanu_GEM | 60
74 | LED Tube light fittings 20 w Rechargable Type box type 4 feets with CRCA body Pre coated white and Prewired for LED tube complete as per TS | LED Tube light fittings 20 w Rechargable Type box type 4 feets with CRCA body Pre coated white and Prewired for LED tube complete as per TS | 12 | Nos | ishanu_GEM | 60
75 | LED mirror lights 1 feet 5 watts Make HAVELLS or BAJAJ or PHILIPS or CROMPTON | LED mirror lights 1 feet 5 watts Make HAVELLS or BAJAJ or PHILIPS or CROMPTON | 8 | Nos | ishanu_GEM | 60
76 | Steel screw full thread with rawl plug of 1 1 by 2 inch size ISI Marked 100 Nos per Pkt | Steel screw full thread with rawl plug of 1 1 by 2 inch size ISI Marked 100 Nos per Pkt | 4 | Pkt | ishanu_GEM | 60
77 | PVC switch board snow white size 7 inch x 4 inch for sockets and switches Make Supreme or Polycab or Finolex | PVC switch board snow white size 7 inch x 4 inch for sockets and switches Make Supreme or Polycab or Finolex | 6 | Nos | ishanu_GEM | 60
78 | PVC switch board snow white size 8 inch x 10 inch for main switches DB Make Supreme or Polycab or Finolex | PVC switch board snow white size 8 inch x 10 inch for main switches DB Make Supreme or Polycab or Finolex | 2 | Nos | ishanu_GEM | 60
79 | PVC L bend and T junction joint for PVC casing and capping confirming to IS 3419 Part 3 Make Supreme or Polycab or Finolex | PVC L bend and T junction joint for PVC casing and capping confirming to IS 3419 Part 3 Make Supreme or Polycab or Finolex | 40 | Nos | ishanu_GEM | 60
80 | Service bracket 40mm dia GI Tubing medium grade 1 point 5 Mtr Long Make Jindal or Tata or Kalinga | Service bracket 40mm dia GI Tubing medium grade 1 point 5 Mtr Long Make Jindal or Tata or Kalinga | 2 | Nos | ishanu_GEM | 60
81 | Cable PVC insulated electric cables heavy duty 1100 volts grade served with inner PVC sheathing aluminum conductor of size 6 Sqmm twin core as per TS | Cable PVC insulated electric cables heavy duty 1100 volts grade served with inner PVC sheathing aluminum conductor of size 6 Sqmm twin core as per TS | 80 | Rm | ishanu_GEM | 60
82 | Ceiling Rose three terminal snow white Make Anchor or SSK or CONA | Ceiling Rose three terminal snow white Make Anchor or SSK or CONA | 40 | Nos | ishanu_GEM | 60
83 | LED Bulk head fitting high pressure die cast aluminum front cover with glass cover with specially design gasket with LED lamp 10 watts as per TS | LED Bulk head fitting high pressure die cast aluminum front cover with glass cover with specially design gasket with LED lamp 10 watts as per TS | 8 | Nos | ishanu_GEM | 60
84 | PVC Flexible wire copper conductor multi stranded 0 point 0016 by 76 Make Havells or Finolex or Plaza | PVC Flexible wire copper conductor multi stranded 0 point 0016 by 76 Make Havells or Finolex or Plaza | 20 | Rm | ishanu_GEM | 60
85 | PVC Flexible Conduit pipe 15 mm dia Make Polycab or Supreme or Finolex | PVC Flexible Conduit pipe 15 mm dia Make Polycab or Supreme or Finolex | 8 | RM | ishanu_GEM | 60
86 | PVC Round or Squire Block Make Polycab or Supreme or Finolex | PVC Round or Squire Block Make Polycab or Supreme or Finolex | 24 | Nos | ishanu_GEM | 60
87 | Plastic Body fresh air fan with louvers shutter of 200mm sweep model brisk air of Crompton or equivalent model in Havells or Bajaj or Khaitan | Plastic Body fresh air fan with louvers shutter of 200mm sweep model brisk air of Crompton or equivalent model in Havells or Bajaj or Khaitan | 12 | Nos | ishanu_GEM | 60
88 | Cable PVC insulated electric cable Heavy duty 1100 volts grade multi stranded copper conductor of size 2.5 sqmm single core as per TS | Cable PVC insulated electric cable Heavy duty 1100 volts grade multi stranded copper conductor of size 2.5 sqmm single core as per TS | 400 | RM | ishanu_GEM | 60
89 | Switch socket combination snow white multipurpose 2 in 1 15 Amp 230 volts Make Anchor or SSK or CONA | Switch socket combination snow white multipurpose 2 in 1 15 Amp 230 volts Make Anchor or SSK or CONA | 8 | Nos | ishanu_GEM | 60
90 | Monoblock pump set suitable for 230 V single phase system having capacity 2HP | Monoblock pump set suitable for 230 V single phase system having capacity 2HP | 2 | Nos | ishanu_GEM | 60
91 | Distribution box 2 way with MCB SPN 240 Volts 10 Amps Make Havells or L and T or Standard | Distribution box 2 way with MCB SPN 240 Volts 10 Amps Make Havells or L and T or Standard | 2 | Nos | ishanu_GEM | 60
92 | PVC Flexible suction hose pipe 25mm dia heavy duty | PVC Flexible suction hose pipe 25mm dia heavy duty | 120 | RM | ishanu_GEM | 60
93 | Non return valve NRV metal metal 25mm dia | Non return valve NRV metal metal 25mm dia | 2 | Nos | ishanu_GEM | 60
94 | Earthing Earthing plate 600 x 600 x 6 mm Galvanised steel suitable for GI strip fittings drilled with 2 nos holes for 6 mm dia near one side | Earthing Earthing plate 600 x 600 x 6 mm Galvanised steel suitable for GI strip fittings drilled with 2 nos holes for 6 mm dia near one side | 2 | Nos | ishanu_GEM | 60
95 | Testing point terminal block make of gun metal and phosphorus bronze size 75 x 75 x 25 mm drilled and screwed including as per TS | Testing point terminal block make of gun metal and phosphorus bronze size 75 x 75 x 25 mm drilled and screwed including as per TS | 2 | Nos | ishanu_GEM | 60
96 | CI Earthing Pit Cover of size 300 x 300 x 6 mm with Angle iron 20x20mm 3 mm thick | CI Earthing Pit Cover of size 300 x 300 x 6 mm with Angle iron 20x20mm 3 mm thick | 2 | Nos | ishanu_GEM | 60
97 | Funnel fitted with 20 mm diameter GI Pipe 1 point 5 m Long Pipe Make Jindal or Tata or Kalinga | Funnel fitted with 20 mm diameter GI Pipe 1 point 5 m Long Pipe Make Jindal or Tata or Kalinga | 2 | Nos | ishanu_GEM | 60
98 | GI wire 4 mm diameter for earthing | GI wire 4 mm diameter for earthing | 40 | RM | ishanu_GEM | 60
99 | Charcoal | Charcoal | 50 | Kgs | ishanu_GEM | 60
100 | Salt normal | Salt normal | 50 | Kgs | ishanu_GEM | 60