## Sheet1
Item Number | Item Title | Item Description | Item Quantity | Unit of Measure | Consignee ID | Delivery Period (In number of days)
1 | Split AC 1.5 Ton 5 Star | Supply installation and testing of 1 5 ton split type inverter Air Conditioner copper condenser digital display complete with cordless remote control unit and with in built air ioniser and Plasma filter for better indoor air quality,high energy efficiency latest BEE 5 star rating smart integration eco friendly R 32 refrigerant including taking out existing unit complete all as specified and directed by Engineer in charge | 48 | Nos | AGE-PHALODI | 15
2 | Split AC 2.0 Ton 5 Star | Supply installation and testing of 2 0 ton split type inverter Air Conditioner copper condenser digital display complete with cordless remote control unit and with in built air ioniser and Plasma filter for better indoor air quality,high energy efficiency latest BEE 5 star rating smart integration eco friendly R 32 refrigerant including taking out existing unit complete all as specified and directed by Engineer in charge | 24 | Nos | AGE-PHALODI | 15
3 | Deep Freezer Metal 200ltr | Supply installation commissioning of Metal Top Deep Freezer capacity 200 ltr single phase 240 volt 50 Hz with in built stablizer and 5 star rated complete all as specified and directed by Engineer in charge | 2 | Nos | AGE-PHALODI | 15
4 | Deep Freezer Metal 320ltr | Supply installation commissioning of Metal Top Deep Freezer capacity 320 ltr single phase 240 volt 50 Hz with in built stabilizer and 5 star rated complete all as specified and directed by Engineer in charge | 1 | Nos | AGE-PHALODI | 15
5 | Water Cooler Stainless Steel 40 ltr 5 star | Supply installation commissioning of Water cooler fully stainless steel electric driven single phase 240 volt with in built stabilizer capacity 40 80 ltr and 5 star rated complete all as specified and directed by Engineer in charge | 25 | Nos | AGE-PHALODI | 15
6 | Water Cooler Stainless Steel 60 ltr 5 star | Supply installation commissioning of Water cooler fully stainless steel electric driven single phase 240 volt with in built stabilizer capacity 60 120 ltr and 5 star rated complete all as specified and directed by Engineer in charge | 1 | Nos | AGE-PHALODI | 15
7 | Water Cooler Stainless Steel 150 ltr 5 star | Supply installation commissioning of Water cooler fully stainless steel electric driven single phase 240 volt with in built stabilizer capacity 150 ltr and 5 star rated complete all as specified and directed by Engineer in charge | 1 | Nos | AGE-PHALODI | 15
8 | Refrigirator single 180ltr 5 Star | Supply installation commissioning refrigerator turbo cool single door smart inverter compressor with in built stabilizer with lock key facility of capacity 180 ltr single phase 240 volt complete all as specified directed by Engineer in charge | 5 | Nos | AGE-PHALODI | 15
9 | Refrigirator single door 185ltr 5 Star | Supply installation commissioning refrigerator turbo cool single door smart inverter compressor with in built stabilizer with lock key facility of capacity 185 ltr single phase 240 volt complete all as specified directed by Engineer in charge | 1 | Nos | AGE-PHALODI | 15
10 | Refrigirator double door 310ltr 5 Star | Supply installation commissioning refrigerator turbo cool single double smart inverter compressor with in built stabilizer with lock key facility of capacity 310 ltr single phase 240 volt complete all as specified directed by Engineer in charge | 4 | Nos | AGE-PHALODI | 15
11 | Plug 2PE single Phase | Supply Fixing metal clad industrial plug 2P E 220 volt single phase for ACs as per exiting socket size and complete all as specified & directed | 25 | Nos | AGE-PHALODI | 15
12 | Wall mountet outdoor metal bracket 36 inch | Supply and fixing in renewal of wall mounted outdoor metal bracket of size 36 inch of heavy duty of minimum weight 5 50 Kg and Load capacity of 50 kgs for outdoor unit of split ACs 1 5 2 0 TR capacity with including connected accessories viz fastner nuts and bolts complete all as specified and directed | 20 | Nos | AGE-PHALODI | 15
13 | Drain Pipe 5 mtr | Supply and fixing PVC flexible durable corrugated Air conditioning drain pipe 5 mtr length of size 15mm bore complete all as specified and directed directed by Engineer in charge | 30 | Mtr | AGE-PHALODI | 15
14 | Copper Pipe 1 4 inch | Supply and fixing copper pipe size 1 4inch including connected two copper pipe by brazing complete all as specified and directed by Engineer in charge | 50 | Mtr | AGE-PHALODI | 15
15 | copper Pipe 1 2 inch | Supply Fixing copper pipe size 1 2inch including connected two copper pipe by brazing complete all as specified and directed directed by Engineer in charge | 100 | Mtr | AGE-PHALODI | 15
16 | copper Pipe 5 8 inch inch | Supply Fixing copper pipe size 5 8inch size including connected two copper pipe by braging complete all as specified and directed by Engineer in charge | 50 | Mtr | AGE-PHALODI | 15
17 | PVC 3 core copper Cable 4 sqmm | Supply Fixing in of PVC insulated 3 core copper PVC insulated FRLSH cable of size 4 Sqmm flexible cables 1100 Volts and confirming to IS 694 complete all as specified and directed by Engineer in charge | 35 | Mtr | AGE-PHALODI | 15