## Sheet1 (hidden)
PRICE BID FORMAT
S.NO | ITEM DESCRIPTION | QTY | UNIT PRICE
1 | SUPPLY OF 1000 GPM TROLLEY MOUNTED WATER CUM FOAM MONITORS | 1
1A | INSTALLATION AND COMMISSIONING | 1
2 | SUPPLY OF 200/210 LTR TROLLEY MOUNTED FOAM COMPOUND TROLLEY | 1
2A | INSTALLATION AND COMMISSIONING | 1
3 | VARIABLE FLOW ( 500-750-1000 GPM) ULFOAM MONITOR | 2
3A | INSTALLATION AND COMMISSIONING | 2
4 | DOUBLE HYDRANTS | 10
4A | INSTALLATION AND COMMISSIONING INCLUDING NUTS , BOLTS, WASHERS | 10
5 | SUPPLY OF BC TYPE 9 KG FIRE EXTINGUISHER | 10
6 | ALUMINIUM JET NOZZLES | 14
7 | HOSE BOXES | 18
7A | INSTALLATION AND COMMISSIONING INCLUDING BASEMENT SUPPORT | 18
8 | HAND SIREN | 5
9 | FIXED TYPE MEFG | 1
9A | INSTALLATION AND COMMISSIONING | 1
SUB TOTAL
GST
GRAND TOTAL
VENDOR SEAL AND SIGNATURE.

## PRICE BID
Price Bid
Date :
TENDER FOR SUPPLY, INSTALLATION TESTING AND COMMISSIONING OF IT & ELECTRICAL COMPONENTS FOR VEHICLE ACCESS MANAGEMENT SYSTEM AT BPCL PEETHAMPUR LPG PLANT
S.NO | ITEM DESCRIPTION | QTY | UOM | UNIT PRICE | TOTAL
1 | Supply and installation of 12U Rack | 1 | EACH
2 | Supply and Installation of 12 Port Managed N/W Switch | 1 | EACH
3 | Supply and Installation of 8 Port Managed N/W Switch | 3 | EACH
4 | 4+2 POE Switch for power up the IP camera | 2 | EACH
5 | Supply and Installation of Gigabyte Media Convertor | 14 | EACH
6 | Supply and Installation of Patch Cards | 120 | EACH
7 | Supply and Installation of Power JB | 8 | EACH
8 | Supply and installation of Control JB | 8 | EACH
9 | Supply and Installation of Long-range WiFi Router | 1 | EACH
10 | Supply and Installation of 6C SC OFC Cable | 2000 | MTR
11 | Supply and laying of 3C*2.5 Sqmm Armoured Cable | 2000 | MTR
12 | Supply and Laying of CAT-6 Cable | 1000 | MTR
13 | Supply and installation of 42 U Rack | 1 | EACH
14 | Supply and installation of 24 Port Managed Switch | 1 | EACH
15 | Supply and installation of PDP Pannel | 1 | EACH
16 | Supply and installation of P10 Display unit with 2 feet * 6Inch for Driver information purpose | 4 | EACH
17 | Supply and installation of 10KVA UPS 3Phase In 1Phase Out with Redundant Setup | 1 | EACH
18 | Supply and installation of SMF Battery 42AH | 16 | EACH
19 | Supply and installation of Battery Stand and Interlinks | 1 | EACH
20 | FLP Gland | 60 | EACH
21 | Non FLP Gland | 30 | EACH
TOTAL
GST (18%)
GRAND TOTAL