## BoQ1
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SE, O&MC-III,BTPS,Anpara
Name of Work:Servicing and O/H of C&I field equipment, Cutting and welding of various orifices, repair of pneumatic/ impulse lines, Sealing, Locking of various C&I panels boiler side during overhauling of unit 4, 2x500MW BTPS, Anapra
Contract No: N/ANP/B/OMC3/IMD2/6000011558_00
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | GST in percentage | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Servicing and O/H of C&I field equipment, Cutting and welding of various orifices, repair of pneumatic/ impulse lines, Sealing, Locking of various C&I panels boiler side during overhauling of unit 4, 2x500MW BTPS, Anapra. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
10 | L-120-10/HB1, HB2, L-120-20/HB3, SMB-1/HB4, H5BC, Actuator gear box HB-1, HB-2, HB-3, HB-4, BA-1, SMB-00/BA1, SMC-3 |  | 97 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME? | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20 | SMC-4 |  | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME? | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
30 | 11AZ/K-30G0A, K-30-F10E,7AZ/60 G0A, COC drive reducer |  | 25 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME? | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
40 | L-120-80, SMB-2, K-300-F14E, K-600G1/G2A |  | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
50 | Actuator gear box H5BC/H6BC |  | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
60 | K-150-F10E |  | 8 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
70 | K-1000-G0A |  | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
80 | L-120-190, RC Feeder motor with Reducer gear box |  | 18 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
90 | SA-30.1F |  | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
100 | K-1000-F16E |  | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
110 | SA-100E |  | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
120 | SMB-3 |  | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
130 | SADC Actuators with I/P Converter and associated field equipment. |  | 68 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
140 | M-BFP scoop tube with associated field equipment |  | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
150 | Soot blower control valve with associated field equipment |  | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
160 | Diaphragm Type shut off valves |  | 15 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
170 | Mill outlet gate along with associated equipments |  | 16 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
180 | PC pipe purge air damper, Oil Gun power cylinde along with associated equipments |  | 40 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
190 | Cold Air shut off gate along with associated equipments |  | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
200 | Primary Air shut off gate along with associated equipments |  | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
210 | Igniter power cylinder, Keystone actuator, Pneumatically Operated valve actuator at oil elevation corner along with associated equipments |  | 44 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
220 | Light Actuators |  | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
230 | Heavy Actuators |  | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
240 | 0.4KV Switchgear Modules |  | 250 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
250 | Flue Gas Oxygen Analyzers, Load Cell of RC Bunkers |  | 8 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
260 | RC Feeder load cell, flapper for discharge pluggage and no coal on belt related jobs |  | 16 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
270 | Checking and replacement of Thermocouples, RTD, Thermowell |  | 100 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
280 | Level, flow, pressure, and temperature transmitters |  | 100 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
290 | Process gauges and switches for flow, pressure, DP, Temperature |  | 150 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
300 | Local controllers and different solenoids |  | 120 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
310 | L-120-10/HB1, HB2, L-120-20/HB3, SMB-1/HB4, H5BC, Actuator gear box HB-1, HB-2, HB-3, HB-4, BA-1, SMB-00/BA1, SMC-3 |  | 37 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
320 | SMC-4 |  | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
330 | 11AZ/K-30G0A, K-30-F10E,7AZ/60 G0A, COC drive reducer |  | 27 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
340 | L-120-80, SMB-2, K-300-F14E, K-600G1/G2A |  | 12 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
350 | Actuator gear box H5BC/H6BC |  | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
360 | K-150-F10E |  | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
370 | L-120-190, RC Feeder motor with Reducer gear box |  | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
380 | SA-30.1F |  | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
390 | K-1000-F16E |  | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
400 | SA-100E |  | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
410 | Diaphragm Type shut off valves |  | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
420 | Mill outlet gate along with associated equipments |  | 16 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
430 | PC pipe purge air damper, Oil Gun power cylinde along with associated equipments |  | 8 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
440 | Cold Air shut-off gates along with associated equipments |  | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
450 | Primary Air shut off gates along with associated equipments |  | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
460 | Igniter power cylinder, Keystone actuator, Pneumatically Operated valve actuator at oil elevation corner along with associated equipments |  | 24 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
470 | Disconnection and re-installation of C&I connections of field instruments (Gauges/switches/RTD/Thermocouple) to facilitate the O/H work of Mechanical overhauling work on major equipments (Mills, IDF, PAF, FDF) |  | 14 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
480 | Orifice plates, for total air flow measurements installed in mills at boiler site of 2x500 MW BTPS Anapra |  | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
490 | Orifice plates, for I/L air flow measurements installed in mills at boiler site of 2x500 MW BTPS Anapra |  | 8 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
500 | Platform and monkey ladder to approach purge air damper installed at corner no. 03 and 04 for attending problems at it. |  | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
510 | Repairing of motor housing of Limitoque make actuators L120-190, L120-80 ash handling rotary feeder motors |  | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
520 | Repairing of motor rotor of Limitoque make actuators L120-190 and L120-80 along with lock key (rotor shaft in the scope of contractor) |  | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
530 | O2 analyzer protector cutting and welding. |  | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
540 | Fabrication of flange for level transmitters |  | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
550 | Cutting/welding and repairing of thermocouple protectors |  | 32 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
560 | Removal of broken bolts from housing/flanges etc as per site requirement |  | 50 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
570 | Misc. work of cutting and welding as per site requirement |  | 100 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
580 | Reparing / brazing, ferrule making of pneumatic pipes |  | 50 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
590 | Repair of field panel body |  | 50 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
600 | Repair of field panel rubber sealing |  | 100 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
610 | Repair of field panel door locks |  | 75 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
620 | Lettering of boiler side field actuators |  | 200 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 | [38 empty] | 0 | 0 | #NAME?
Total in Figures | [12 empty] | 0 | [38 empty] | 0 | 0 | #NAME? | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #NAME?
Quoted Rate in Words |  | #NAME?
Validate
Print
Help

## Macros (hidden)
Please Enable Macros to View BoQ information