## Sheet1
Item Number | Item Title | Item Description | Item Quantity | Unit of Measure | Consignee ID | Delivery Period (In number of days)
1 | CIRCUIT SPOT 800 AMP | MPN MV3307 | 2 | EA | depot-off-basa.mcl@Coalindia.in | 45
2 | OPERATING HANDLE FOR ISOLATOR | MPN MV5612 | 1 | EA | depot-off-basa.mcl@Coalindia.in | 45
3 | CASTEL LOCK SPINDLE TYPE WITH KEY | MPN MV5617 | 3 | EA | depot-off-basa.mcl@Coalindia.in | 45
4 | CASTEL LOCK BOX TYPE WITH KEY | MPN MV5618 | 3 | EA | depot-off-basa.mcl@Coalindia.in | 45
5 | CABLE GLAND-CONICAL TYPE FOR 70 SQMM X 3 | MPN MV5619 | 5 | EA | depot-off-basa.mcl@Coalindia.in | 45
6 | AUXILIARY RELAY 3O by C | MPN MDN8826 | 3 | EA | depot-off-basa.mcl@Coalindia.in | 45
7 | VACCUM BOTTLE 1250AMP 26KA | MPN ME4531 | 6 | EA | depot-off-basa.mcl@Coalindia.in | 45
8 | TRIP COIL | MPN ME4537 | 2 | EA | depot-off-basa.mcl@Coalindia.in | 45
9 | CLOSING COIL | MPN ME4538 | 2 | EA | depot-off-basa.mcl@Coalindia.in | 45
10 | LIMIT SWITCH | MPN ME4539 | 3 | EA | depot-off-basa.mcl@Coalindia.in | 45
11 | INDICATING LAMP | MPN ME4543 | 30 | EA | depot-off-basa.mcl@Coalindia.in | 45
12 | HT BUSHING W by CLAMP FITTING 3 point 3KV 1250A | MPN MED1007 | 4 | EA | depot-off-basa.mcl@Coalindia.in | 45
13 | HEAVY DUTY EPOXY RESIN CAST POTENTIAL TR | MPN MED2120 | 3 | EA | depot-off-basa.mcl@Coalindia.in | 45
14 | H V FUSE LINK 6 point 6 KV | MPN MED2441 | 8 | EA | depot-off-basa.mcl@Coalindia.in | 45
15 | EARTH LEAKAGE RELAY | MPN MER5310 | 4 | EA | depot-off-basa.mcl@Coalindia.in | 45
16 | UNDER VOLTAGE RELAY | MPN MER5601 | 4 | EA | depot-off-basa.mcl@Coalindia.in | 45
17 | OVER VOLTAGE RELAY | MPN MER5602 | 3 | EA | depot-off-basa.mcl@Coalindia.in | 45
18 | AMMETER | MPN MES4701 | 3 | EA | depot-off-basa.mcl@Coalindia.in | 45
19 | VOLTMETER | MPN MES4702 | 3 | EA | depot-off-basa.mcl@Coalindia.in | 45
20 | AMMETER SELECTOR SWITCH | MPN MES4703 | 3 | EA | depot-off-basa.mcl@Coalindia.in | 45
21 | VOLTMETER SELECTOR SWITCH | MPN MES4704 | 3 | EA | depot-off-basa.mcl@Coalindia.in | 45
22 | MCB 6AMP 2 POLES | MPN MES4709 | 6 | EA | depot-off-basa.mcl@Coalindia.in | 45
23 | FUSE BASE | MPN MES4711 | 12 | EA | depot-off-basa.mcl@Coalindia.in | 45
24 | FUSE BASE HOLDER 415V AC 32A | MPN MES4712 | 12 | EA | depot-off-basa.mcl@Coalindia.in | 45
25 | MASTER TRIP RELAY | MPN MER5530 | 4 | EA | depot-off-basa.mcl@Coalindia.in | 45
26 | EARTH LEAKAGE RELAY | MPN MER335290 | 3 | EA | depot-off-basa.mcl@Coalindia.in | 45
27 | INSULATOR COMPLETE SET | MPN MV3322 | 4 | EA | depot-off-basa.mcl@Coalindia.in | 45