## Sheet1
Item Number | Item Title | Item Description | Item Quantity | Unit of Measure | Consignee ID | Delivery Period (In number of days)
1 | Rain Gauge Sensor TBRG with mounting accessories | As per tender document | 2 | Pieces | kapil.chamoli | 150
2 | Temperature and Humidity Sensor with mounting accessories | As per tender document | 2 | Pieces | kapil.chamoli | 150
3 | Pressure sensor with mounting accessories | As per tender document | 2 | Pieces | kapil.chamoli | 150
4 | Ultrasonic wind sensor with mounting accessories | As per tender document | 2 | Pieces | kapil.chamoli | 150
5 | DAS with IP-67 compliant Enclosure with mounting accessories and USB pen drive 16 GB or more for data retrieval | As per tender document | 2 | Pieces | kapil.chamoli | 150
6 | GPRS modem with dual SIM slot 4G compatible with 3G or latest facility with minimum 8 dBi antenna gain with mounting accessories | As per tender document | 2 | Pieces | kapil.chamoli | 150
7 | Portable AWS Tripod Mast | As per tender document | 2 | Pieces | kapil.chamoli | 150
8 | Suitable SMF Battery for 20 days backup without charging | As per tender document | 2 | Pieces | kapil.chamoli | 150
9 | Suitable solar panel for charging the SMF battery with mounting accessories on the mast | As per tender document | 2 | Pieces | kapil.chamoli | 150
10 | Installation, integration of sensors of AWS, masts erection, prototype of earthing for signal ground and lightning arrestor | As per tender document | 2 | Pieces | kapil.chamoli | 150
11 | Toolkit for operational and maintenance of AWS | As per tender document | 2 | Pieces | kapil.chamoli | 150
12 | Data loggers as per technical specification | As per tender document | 2 | Pieces | kapil.chamoli | 150
13 | Laptop for data display and transfer purpose | As per tender document | 1 | Pieces | kapil.chamoli | 150
14 | Hard copy and soft copy in USB drive 16 GB of operation and maintenance manuals | As per tender document | 2 | Pieces | kapil.chamoli | 150