- Contractor/s shall engage an exclusive Safety Supervisor/Engineer on high-risk jobs or when demanded by the Safety Engineer. Contractors shall adhere to the Safety norms specified by EHS Leader.  Contractor/s shall follow LIXIL Safety Standards and in the procurement of any PPE`s such as helmets, belts, etc. Contractors stating, they were unaware of the systems and costs, etc shall not be an excuse for non-compliance. Repeated non-compliance reports issued by LIXIL EHS may disqualify or call for termination of the Contract.

- The Owner will award the Contract to the Contractor by virtue of their expertise and experience in execution of such Works and therefore no part of the Contract or any share or interest therein shall in any manner or degree be transferred, assigned, or sublet by the Contractor directly or indirectly to any person, firm or company whatsoever without the prior consent in writing of the Owner for which the Contractor shall give a written request to the Owner at least 30 days in advance of the proposed date of transfer, assignment or sub-letting. In the event of the Contractor contravening this condition, the Owner shall be entitled to place the contract elsewhere on the Contractor/s account and at its risk and cost, then the Contractor shall be liable for any loss damage which the Owner may sustain in consequence or arising out of such replacing of the Contract. This shall not relieve Contractor of any responsibility under this Contract. However, the execution of the Works by Piece Rate Worker (PRW) contract under the direct and personal supervision of the Contractor shall not be deemed to be sub-contract/sub-let under this clause.

- All contractor/s Employees should undergo safety induction program before putting them on job. No worker should be allowed without gate pass.

- Addendum to Work Order (Safety Violation - penalty clause)

Penalty for violation of any of the above requirements will be eligible for penalty as follows:

1st time violation:  Rs. 1,000/-  with stoppage of work

2nd time violation:  Rs. 5000/- with stoppage of work.

3rd time violation:  Rs. 10000/- followed by Cancellation of Work order.

- Addendum to Work Order (Property damage - penalty clause)

Penalty for violation of any of the above requirements will be eligible for penalty as follows:

1st time violation: 	Rs. 25,000/-

2nd time violation:      Rs. 50,000/- with stoppage of work.

3rd time violation:  	Rs. 1,00,000/- followed by Cancellation of Work order.

- No workmen below 18 years and above 58 years of age shall be engaged for a job. No one will be engaged if there is any doubt about the age or no proof of age is available.

- All workmen shall be screened for physical fitness before engaging them on the job. Physical fitness of the person to certain critical jobs like working at height, confined spaces, or other dangerous locations to be ensured before engaging the person on work.

The final decision rests with the site management to reject any person on the ground of physical fitness.

- Smoking is strictly prohibited at workplace and across plant area.

- Alcohol, drugs, mobile phone, and weapons are prohibited at the work site.

- Contractor/s shall ensure adequate supervision at workplace. They shall ensure that all persons working under them shall not create any hazard to self or co – workers. “S/c Evaluation System” will measure the Contractor/s performance monthly basis.

- No one is allowed to work without wearing safety helmet and chinstrap (IS:2925).  The safety helmet shall always be used.

- No one is allowed to work at more than 1.8m without wearing safety belt and anchoring the lanyard of safety belt to firm support at shoulder level and above.

- No one is allowed to enter workplace and work at site without adequate foot protection. Contractors must provide steel toe boots for each worker.

- Safety eyeglasses are required as per the LIXIL PPE Matrix.  Additional eye protection equipment (face shield, welding face guard, safety goggles) shall be used when workmen are engaged for grinding, chipping, welding, and gas cutting. For other jobs, as and when site safety coordinator insists eye protection has to be provided.

- All PPE’s, such as, safety helmets or hard-hats, steel-toe/puff-toe safety shoes, nose masks/nose masks with filters, safety goggles, safety harnesses with twin lanyards, hearing protection, respiratory protection, hand gloves, etc. shall be provided before starting the job as per recommendation of site safety coordinator.

| Sl. No. | Item Description | BIS Standard | ISO STANDARD | OSHA’s STANDARD | EN STANDARD |
| --- | --- | --- | --- | --- | --- |
| 1 | Industrial Safety Helmet | IS:2925 |  |  | EN 397:2012 |
| 2 | Safety Goggles | IS 5983:1980 |  |  | EN 166 |
| 3 | Ear muff | IS 9167:1979 |  |  | EN 352-1:2002 |
| 4 | Ear Plugs |  |  |  | EN 352-2:2002 |
| 5 | Nose Mask | IS 8347:2007 |  |  | EN 134:1998 |
| 6 | Safety Shoes | IS 15298-2 (2011) | ISO 20345:2004 |  |  |
| 7 | Cut Resistance Hand Gloves (Level-1) | IS |  |  | EN 388 |
| 8 | FBSH | IS: 3521:1999 |  |  | EN 361 |

- Prior to starting ANY work, contractor(s) shall ensure necessary Work Permits are issued and Pre-Job Safety Reviews and discussion related to all risk & hazards with workers are held.

- All excavated pits shall be barricaded with a hard protective system. Hard barricades shall be maintained until the back filling is completed. A safe approach shall be available for every excavation.

- Adequate illumination at workplace shall be ensured before starting the job at night.

- All the dangerous moving parts of the portable / fixed machinery being used shall be adequately guarded.  The guards must prevent any possible contact between the moving parts and any person.

- Ladders used at site shall be adequately secured at the bottom and the top. Ladders shall not be used as work platforms.

- Erection zones and dismantling zones shall be barricaded, and no one shall be allowed to stand under suspended loads.

- Boisterous/rowdy behaviour is completely prohibited at workplace. Running at the site is completely prohibited, except in case of emergency.

- Material shall not be thrown from the height and should only be lowered using hoisting equipment.  The area shall be barricaded, and one person shall be posted outside the barricade to prevent persons from entering the area.

- Use of compressed air for body/cloth cleaning is strictly prohibited.

- Other than the electricians (with red helmets) no one is allowed to perform electrical connections, repairs on electrical equipment or other jobs related thereof.

- Power supply shall be taken through Earth leakage circuit breakers (ELCB / RCCB) of 30mA sensitivity. For welding machines, the limit shall be <100mA.

- Only double insulated flexible cable to be used for area lighting and all the electrical equipment and power generator to be given two distinct earthing.

- Inserting of bare wire for tapping the power from electrical socket is completely prohibited and industrial tops for outdoor works and plastic tops for domestic must be used.

- All major, minor accidents and near misses to be reported to EHS Leader to enable the management to take necessary steps to avoid the reoccurrence.

- All scaffoldings / working platforms shall meet BIS/OSHA’s standard guidelines for erecting and dismantling jobs. Usage of Casuarina / Bamboo items for main job egg supporting, staging, working platform etc. are totally banned at work sites.

- The width of the working platform and fall protection arrangements shall be maintained as per recommendation of Plant SH&E standards and approach ladder (MS or Aluminium) to be provided for the entire working platform.

- All the vehicles shall be equipped with all necessary safety devices (reverse horn, signal lights, headlights, blinking light, etc.) shall be in good working condition and fit to use.

- All vehicles must follow speed limits and posted illumination.

- All vehicles must stay on roadways and are prohibited from pedestrian walkways.

- No passengers allowed on vehicles designed for only one operator.

- All passengers in vehicles (Hydra, Crane, Pay-loader, etc) must remain seated and wear seat/safety belt.

- All vehicles must be turned off when not in use.  All unattended vehicles should be off and in neutral positions with hand brake applied and all booms lowered to the ground (if any).

- All tools and tackles shall be inspected before use. Defective tools must be discarded immediately.

- All welding machines shall be placed on the ground level and routed through ELCB/RCCB with double earthing. For portable welding machine placement and earthing shall made as per OEM recommendation.

- LPG / Oxygen cylinders shall be trolley mounted and chain secured.

- LPG / Oxygen cylinders shall be stacked vertical and segregated by full and empty cylinders.  Cylinders shall be secured with chains to prevent cylinders from falling.

- Flash-back arrestor shall be mounted at both end of hose for Oxygen and LPG and double gauge regulator.

- Hydra shall not be used for shifting Oxygen and Cutting Gas Cylinders from one place to other place.

- Each department shall ensure no equipment / lifting tackle shall be used unless it has a valid certificate by a competent person and/or third-party inspector.

- No employee shall use any equipment without first being properly trained. Training must be made available upon request.

- Good housekeeping to be maintained always. Passages shall not be blocked with materials.

- Materials like bricks, cement bags shall not be stacked to the dangerous heights (maximum 1.5M.) at the workplace.

- Debris, scrap and other materials to be cleared from time to time from the workplace and at the closing of every workday.

- Contractors shall ensure that all their workmen are following safety practices while travelling and at the labour colony.

- For all the unsafe conditions and acts identified by Contractor/s, the work to be stopped immediately and reported immediately to site supervisors and / or safety personnel to be corrected on priority basis before resuming the work.

- No children shall be allowed to enter the workplace. Separate shed and attendant to be arranged as per Statutory norms to keep away the children from workplace.

- Female workers are not allowed to work on height & other high-risk areas.

- All unassisted lifts and carrying capacity is 23kgs. Maximum. (to be reviewed as per Statutory)

- Other than the driver / operator, no one shall travel in a tractor/ tough rider etc. Unauthorized operation is totally prohibited.

- Good House Keeping must be practiced by the Contractor personnel at all times while within the plant. During and after completion of the work, they are to ensure that their work area is kept clean and tidy. Materials and equipment should be stored in a safe and orderly manner so that they will not block exits to roads, buildings, aisles, passage, and approach to fire-fighting equipment such as fire hydrants, fire hose and fire extinguishers or area where emergency safety showers, electrical switch panels and switch rooms are located.

- Aluminium Material/ Ladders shall not be used at site irrespective of availability of overhead electrical lines. Use wooden ladders/or other non-conductive material only.

- Equipment safety: a) all rotating parts must be guarded, b) all hot/cold pipes must be insulated, c) all safety devices shall be in operation and test certificates must be available.

- If a site evacuation becomes necessary, contractor/s will be notified by Plant leader / Safety leader / Security Head and shall evacuate along with site personnel and meet at the designated assembly point.

Contractor Safety Agreement

I/ We, acknowledge that I have been explained all the safety rules as per LF-22-022 Safety Code of Practices for Contractors and LI-22-017 Contractor EHS Management by LIXIL. I hereby agreed to follow all terms and conditions as per the LIXIL Code of conduct and EHS guidelines.

Signature of the Contractor/ representative………………………..

Print Name………………………………………………………….….

Date…………………………………………………………………….

Signature of LIXIL staff……………………………………………….

Print Name…………………………………………………………….

Date……………………………………………………………………