TERMS & CONDITIONS: -

- OEM Authorization Certificate

The bidder shall submit a valid Authorization Certificate issued by the Original Equipment Manufacturer (OEM) of each item mentioned in BOQ, authorizing the bidder to participate in the tender and to supply the offered product. The authorization certificate shall be BID specific authorization from OEM   (Signed

& stamped copy) alongwith bid documents.

- PED Gas Appliances Certification

The OEM shall be PED Gas Appliances Directive certified in compliance with Directive 2009/142/EC (or latest applicable amendment). Valid certification documents shall be enclosed with the bid.

- EU PED Compliance for High Pressure Cylinders

The offered product shall comply with EU PED Directive 2014/68/EU, suitable for 300 Bar working pressure, and approved for carbon composite construction. Relevant approvals and supporting documents shall be submitted.

- Quality Management & Product Standards

The OEM shall be certified to EN ISO 10297:2006 and shall also hold a valid ISO 9001:2015 Quality Management System certification issued by an accredited certification body.

- CE Conformity Certification

The OEM and the offered product shall be CE certified, confirming conformity with applicable European safety, health, and environmental protection standards.

- NABL Accredited Test Reports

The OEM shall submit test reports from NABL-accredited laboratories for the offered product at the time of bid submission, confirming compliance with relevant technical standards.

- Technical Support & Service Facility

The OEM shall provide 24×7 technical support through a dedicated helpline and shall maintain an authorized technical service office / support facility within NCR Delhi from the user location for effective after-sales service.

- Test Certificates and Minimum 01 years Warranty/ Guarantee Certificates of all items to be submitted at the time of delivery.

- EMD of Rs. 37,927/- in favour of “ Executive Engineer (E), ED-XI, CPWD, Pusa, New Delhi ” payable at New Delhi.

- Bidder should upload the soft copy of EMD after submitting the same EMD to division office of any Executive Engineer (including NIT issuing EE/ AE), CPWD and other documents as specified.

- Bidder should upload last 3 months GST upto date returns.

- GST Registration Certificate and Latest upto date due GST return of the State in which the work is to be taken up, if already obtained by the bidder.If the bidder has not obtained GST registration in the State in which the work is to be taken up, or as required by GST authorities then in such a case the bidder shall scan and upload following under taking along with other bid documents. “lf work is awarded to me, I/we shall obtain GST registration Certificate of the State, in which work is to be taken up, within one month from the date of receipt of award letter or before release of any payment by CPWD/PWD/RAILWAY/, whichever is earlier, failing which I/We shall be responsible for any delay in payments which will be due towards me/ us on a/c of the work executed and/or for any action taken by CPWD/PWD/RAILWAY or GST department in this regard.

13. The bid has to be quoted by bidder for all items, single item bid shall not be considered.

.