## Financial
Supply, Installation, Testing, Commissioning, Operation & Maintenance of Centralized Control & Monitoring System (CCMS) for Street Lighting on National Highways under RO-UP (West), Lucknow on Five (05) Year Contract Basis.
NATIONAL HIGHWAY AUTHORITY OF INDIA, RO-Lucknow
Name of the Contractor
Sr. | Name of Item | Unit | Quantity | Quoted Rate (₹)
1 | Supply, Installation, Testing & Commissioning of Centralized Control & Monitoring System (CCMS) conforming to the Technical Specifications of the RFP under Section-IV (Technical Bid), including but not limited to: a) CCMS Feeder Panel (3-Phase) with enclosure, pole-mounted or ground/stand-mounted, and accessories etc. b) CCMS Controller / RTU / Gateway with GPRS/GSM communication c) 3-Phase DLMS compliant Energy Meter d) Protection devices (MCCB/MCB/ELCB/SPD, relays, contactors, etc.) e) Antenna, wiring, earthing, and all hardware accessories f) Web-based Central Control & Monitoring Software | Per CCMS | 663
1177.3288
1177.3288
1177.3288
1177.3288
1177.3288
1177.3288
1177.3288
| Total Cost (excluding GST) |  |  | 0

## BOQ
Sl. No. | Project Name | No. of LED light | Total required CCMS (Tentative)
1 | Ghaziabad-Aligarh section of NH-34 | 3143 | 44
2 | Six laning of Etawah-Chakeri (Kanpur) Section of Nh-2 from km.323.475 to 483.687 in the state of UP under NHDP Phase V on DBFOT Toll Basis | 13318 | 182.4384
3 | 4-laning of Aligarh-Kanpur Section from km. 356+000 (Design Ch. 373+085) to km 414+000 (Design Ch. 433+728) (Package-V from Mitrasen-Kanpur) of NH-91 in the State of Uttar Pradesh on Hybrid Annuity Mode under Bharatmala Pariyojana | 3837 | 52.5616
4 | Lucknow to Ayodhya Section NH-27 | 1430 | 19.589
5 | Kanpur Lucknow Expressway Pkg-1 | 1145 | 15.6849
6 | Kanpur Lucknow Expressway Pkg-2 | 506 | 6.9315
7 | Lucknow Ring Road Pkg 1 | 1912 | 26.1918
8 | Lucknow Ring Road Pkg 2 | 1442 | 19.7534
9 | Lucknow Ring Road Pkg 3A | 240 | 3.2877
10 | Lucknow Ring Road Pkg 3B & Kisan Path | 1005 | 13.7671
11 | Six lane of Agra-Etawah section of NH-19 | 12045 | 165
12 | Hapur Bypass -Moradabad including Hapur Bypass (km 50.00 - km 148.277) | 8308 | 114
Total |  | 48331 | 663.2055