## Sheet1
Item Number | Item Title | Item Description | Item Quantity | Unit of Measure | Consignee ID | Delivery Period (In number of days)
1 | Providing, fabrication and construction of copper plate earthing as per drawing details of electrodes and earth pit at Akashvani Leh, Ladakh | as per BOQ document | 16 | Nos | skleh | 60
2 | Providing and Interconnecting earth electrodes with providing, fabrication and fixing of 25mm x 3mm copper strip at Akashvani Leh, Ladakh | as per BOQ document | 1 | Job | skleh | 60
3 | Providing of 25x3mm copper strip for extension of earthing system up to the transmitter hall, UPS and LT panel in premises at Akashvani Leh, Ladakh | as per BOQ document | 300 | Mtr | skleh | 60
4 | Laying of 25 mm x 3 mm Copper strip from earthing system to bus bars and jointing the all joints and connections of ends of copper strips by copper riveting and brazing at Akashvani Leh, Ladakh | as per BOQ document | 300 | R Mtr | skleh | 60
5 | Providing of 375x38x6mm copper bus bar with insulators and steel nut bolts and fixing of 375x38x6mm copper bus bar is to be done to terminate the different earthing system at Akashvani Leh, Ladakh | as per BOQ document | 6 | Job | skleh | 60
6 | Providing and fixing of nomenclature sign marker for earth pits at Akashvani Leh, Ladakh | as per BOQ document | 16 | Nos | skleh | 60